## Sheet1
ASHRAE Service Life Query Dataset
Search Criteria
REGION | All
STATE | All
Function | All
Size (sf) | All
Age (years) | All
Height (stories) | All
BOMA Class | All
Location | All
SYSTEM TYPE | Cooling Pump
Equipment Type | All
# Matching Buildings: |  | 79
# Matching Equipment: |  | 361
BUILDING INFORMATION
Building ID | Equipment ID | System Type | Equipment Type | Equipment Type Other | Capacity | VFD Installed | Seasonality | Annual Run Hours | Floor Area | Quantity | Install Month | Install Year | Removal Month | Removal Year | Removal Reason | Removal Reason Other | State | Function | Gross Area | First Occupied Year | First Occupied Month | Stories | BOMA Class | Location
[5 empty] | equipment specific |  | months | hours | sf |  | month | year | month | year |  |  |  |  | square feet | year | month
146 | 1250 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 600 | 0 | 7 | 2100 | 0 | 1 | 0 | 2004 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
99 | 2201 | Cooling Pump | Centrifugal pump, split-case, single stage | centrifugal pump, split case, single stage ¢rifugal pumps,frame mounted,end suction | 17150 | 0 | 0 | 0 | 0 | 0 | 0 | 1969 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
118 | 909 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 1500 | 0 | 0 | 7500 | 0 | 3 | 0 | 1997 |  |  |  |  | TX | Laboratory | 121068 | 1997 | 0 | 1 | B | suburban
118 | 909 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 1500 | 0 | 0 | 7500 | 0 | 2 | 0 | 2000 |  |  |  |  | TX | Laboratory | 121068 | 1997 | 0 | 1 | B | suburban
146 | 1250 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 600 | 0 | 7 | 2100 | 0 | 1 | 0 | 1998 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
99 | 2201 | Cooling Pump | Centrifugal pump, split-case, single stage | centrifugal pump, split case, single stage ¢rifugal pumps,frame mounted,end suction | 17150 | 0 | 0 | 0 | 0 | 10 | 0 | 1969 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
96 | 783 | Cooling Pump | Centrifugal pump, split-case, single stage | chill water pump | 900 | 0 | 12 | 3432 | 0 | 2 | 0 | 1981 |  |  |  |  | LA | Office | 289112 | 1981 | 0 | 14 | A | suburban
73 | 430 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 3150 | 0 | 9 | 0 | 0 | 4 | 2 | 1984 |  |  |  |  | TX | Office | 302747 | 1984 | 8 | 19 | A | suburban
83 | 552 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 2000 | 0 | 7 | 0 | 0 | 3 | 0 | 1982 |  |  |  |  | IL | Office | 1077074 | 1983 | 0 | 39 | A | downtown
94 | 727 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1300 | 0 | 7 | 992 | 0 | 2 | 0 | 1980 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
80 | 712 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 5254 | 0 | 9 | 2400 | 0 | 3 | 0 | 1973 |  |  |  |  | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
203 | 2094 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 336 | 0 | 12 | 0 | 0 | 12 | 4 | 1990 |  |  |  |  | GA | Office | 134097 | 1977 | 0 | 6 | A | suburban
171 | 1545 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 350 | 0 | 0 | 3000 | 0 | 2 | 0 | 1990 |  |  |  |  | FL | Office | 118728 | 1990 | 1 | 5 | B | suburban
168 | 1483 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 3200 | 1 | 0 | 13140 | 0 | 3 | 0 | 1984 |  |  |  |  | CT | Office | 1500000 | 1984 | 0 | 7 | A | suburban
88 | 650 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 433 | 0 | 0 | 0 | 0 | 2 | 0 | 1988 |  |  |  |  | CA | Office | 210900 | 1988 | 0 | 12 | A | suburban
203 | 2079 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 40 | 0 | 0 | 0 | 0 | 12 | 0 | 1981 |  |  |  |  | GA | Office | 134097 | 1977 | 0 | 6 | A | suburban
179 | 1622 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 1125 | 0 | 0 | 3000 | 0 | 1 | 0 | 1986 |  |  |  |  | CA | Office | 223580 | 1986 | 0 | 6 | A | suburban
123 | 1373 | Cooling Pump | Centrifugal pump, close-coupled, end-suction | CHWP #1 | 760 | 0 | 0 | 0 | 0 | 1 | 7 | 1996 |  |  |  |  | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
72 | 479 | Cooling Pump | Centrifugal pump, split-case, single stage | Condenser water pump | 2400 | 0 | 0 | 2400 | 0 | 2 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
105 | 995 | Cooling Pump | Centrifugal pump, split-case, multistage pump |  | 4380 | 1 | 12 | 0 | 0 | 1 | 8 | 2004 |  |  |  |  | CA | Office | 301587 | 1962 | 0 | 10 | A | suburban
217 | 2047 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 1200 | 0 | 0 | 8760 | 0 | 2 | 0 | 1999 |  |  |  |  | AZ | Office | 217812 | 1999 | 0 | 8 | A | suburban
53 | 227 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 900 | 0 | 0 | 2832 | 0 | 2 | 7 | 1965 |  |  |  |  | CA | Office | 196133 | 1964 | 6 | 13 | A | suburban
86 | 635 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 730 | 0 | 0 | 0 | 0 | 3 | 0 | 1991 |  |  |  |  | CA | Office | 638694 | 1991 | 0 | 25 | A | suburban
202 | 2015 | Cooling Pump | Centrifugal pump, vertical in-line |  | 1020 | 0 | 0 | 0 | 0 | 1 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
94 | 725 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1900 | 0 | 6 | 792 | 0 | 2 | 0 | 1980 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
77 | 618 | Cooling Pump | Centrifugal pump, split-case, single stage | condenser water pump | 2145 | 0 | 12 | 1200 | 0 | 2 | 0 | 1986 |  |  |  |  | LA | Office | 545157 | 1986 | 0 | 36 | A | downtown
214 | 1923 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 12000 | 0 | 0 | 3500 | 0 | 5 | 0 | 1984 |  |  |  |  | FL | Office | 1244100 | 1984 | 0 | 55 | A | downtown
183 | 2184 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 4100 | 1 | 6 | 0 | 0 | 6 | 4 | 1998 |  |  |  |  | MN | Office | 227129 | 1973 | 0 | 15 | B | suburban
171 | 1547 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 130 | 0 | 0 | 8760 | 0 | 1 | 0 | 1990 |  |  |  |  | FL | Office | 118728 | 1990 | 1 | 5 | B | suburban
65 | 319 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1230 | 0 | 0 | 8760 | 0 | 4 | 6 | 1984 |  |  |  |  | MD | Other | 173594 | 1980 | 6 | 2 | A | suburban
71 | 456 | Cooling Pump | Centrifugal pump, close-coupled, end-suction | Chilled Water | 750 | 0 | 0 | 3790 | 0 | 2 | 0 | 1987 |  |  |  |  | GA | Office | 278957 | 1987 | 0 | 13 | A | suburban
186 | 1648 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 2140 | 0 | 0 | 4500 | 0 | 2 | 0 | 1972 |  |  |  |  | MO | Office | 272443 | 1972 | 0 | 23 | A | suburban
76 | 488 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 3000 | 0 | 0 | 780 | 0 | 4 | 10 | 1989 |  |  |  |  | CA | Office | 380000 | 1989 | 10 | 18 | A | downtown
192 | 1770 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 5380 | 0 | 0 | 0 | 0 | 4 | 0 | 1980 |  |  |  |  | GA | Office | 239699 | 1981 | 0 | 10 | B | suburban
130 | 1033 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 500 | 0 | 0 | 0 | 0 | 3 | 0 | 1992 |  |  |  |  | CA | Office | 160094 | 1992 | 0 | 11 | A | downtown
169 | 1537 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 2000 | 0 | 9 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | CA | Office | 383000 | 1984 | 0 | 19 | A | downtown
87 | 642 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 620 | 0 | 0 | 0 | 0 | 2 | 0 | 1980 |  |  |  |  | CA | Office | 394000 | 1980 | 0 | 20 | A | suburban
215 | 1945 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 1290 | 0 | 0 | 4000 | 0 | 3 | 0 | 1991 |  |  |  |  | FL | Office | 261043 | 1991 | 0 | 14 | A | suburban
85 | 580 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 596 | 0 | 0 | 0 | 0 | 3 | 0 | 1989 |  |  |  |  | CA | Office | 431713 | 1989 | 0 | 21 | A | suburban
116 | 894 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 1670 | 0 | 0 | 26208 | 0 | 4 | 0 | 1992 |  |  |  |  | TX | Office | 805732 | 1992 | 0 | 16 | B | suburban
166 | 1443 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1500 | 0 | 7 | 0 | 0 | 2 | 0 | 1995 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
170 | 2119 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 6150 | 1 | 0 | 4000 | 0 | 3 | 3 | 2001 |  |  |  |  | IL | Office | 1300000 | 2001 | 9 | 51 | A | downtown
166 | 1445 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1950 | 0 | 7 | 0 | 0 | 1 | 0 | 1995 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
94 | 724 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1500 | 0 | 6 | 792 | 0 | 2 | 0 | 1980 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
79 | 938 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 945 | 0 | 0 | 3640 | 0 | 2 | 0 | 1991 |  |  |  |  | CA | Office | 292000 | 1991 | 0 | 16 | A | downtown
145 | 1212 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 2200 | 1 | 0 | 3380 | 0 | 2 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
186 | 1642 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 900 | 0 | 0 | 4500 | 0 | 2 | 0 | 1972 |  |  |  |  | MO | Office | 272443 | 1972 | 0 | 23 | A | suburban
170 | 2121 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1605 | 1 | 0 | 5000 | 0 | 2 | 3 | 2001 |  |  |  |  | IL | Office | 1300000 | 2001 | 9 | 51 | A | downtown
64 | 294 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 600 | 0 | 0 | 3126 | 0 | 2 | 9 | 1985 |  |  |  |  | CA | Office | 411000 | 1985 | 9 | 24 | A | downtown
56 | 403 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 7500 | 0 | 7 | 1500 | 0 | 6 | 6 | 1990 |  |  |  |  | IL | Office | 725000 | 1990 | 6 | 29 | A | downtown
117 | 902 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 4500 | 0 | 0 | 7000 | 0 | 3 | 0 | 2001 |  |  |  |  | TX | Office | 280000 | 2001 | 0 | 7 | A | suburban
72 | 480 | Cooling Pump | Centrifugal pump, split-case, single stage | Chilles water pump | 1371 | 0 | 0 | 2400 | 0 | 2 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
94 | 726 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1050 | 0 | 7 | 992 | 0 | 1 | 0 | 1980 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
77 | 617 | Cooling Pump | Centrifugal pump, split-case, single stage | chilled water pump | 1430 | 0 | 12 | 1200 | 0 | 2 | 0 | 1986 |  |  |  |  | LA | Office | 545157 | 1986 | 0 | 36 | A | downtown
80 | 711 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 4760 | 0 | 9 | 2400 | 0 | 3 | 0 | 1973 |  |  |  |  | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
214 | 1922 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 5333 | 0 | 0 | 3500 | 0 | 5 | 0 | 1984 |  |  |  |  | FL | Office | 1244100 | 1984 | 0 | 55 | A | downtown
171 | 1546 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 505 | 0 | 0 | 3000 | 0 | 2 | 0 | 1990 |  |  |  |  | FL | Office | 118728 | 1990 | 1 | 5 | B | suburban
65 | 320 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 795 | 0 | 0 | 8760 | 0 | 5 | 6 | 1980 |  |  |  |  | MD | Other | 173594 | 1980 | 6 | 2 | A | suburban
160 | 1402 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1980 | 1 | 6 | 3280 | 0 | 7 | 6 | 2001 |  |  |  |  | NY | Office | 140000 | 2001 | 6 | 7 | A | downtown
207 | 2170 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 3000 | 1 | 0 | 8760 | 0 | 2 | 0 | 1999 |  |  |  |  | GA | Office | 424635 | 1999 | 0 | 19 | A | downtown
201 | 1954 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 0 | 0 | 0 | 4380 | 0 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 100800 | 1986 | 0 | 3 | B | suburban
217 | 2048 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 1200 | 1 | 0 | 17520 | 0 | 2 | 0 | 1999 |  |  |  |  | AZ | Office | 217812 | 1999 | 0 | 8 | A | suburban
74 | 540 | Cooling Pump | Centrifugal pump, close-coupled, end-suction | Condenser pump | 1260 | 0 | 0 | 3796 | 0 | 2 | 0 | 1989 |  |  |  |  | GA | Office | 378185 | 1989 | 0 | 14 | A | suburban
138 | 1122 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 525 | 1 | 0 | 3380 | 0 | 2 | 0 | 2001 |  |  |  |  | FL | Office | 121275 | 1985 | 0 | 6 | A | suburban
202 | 2014 | Cooling Pump | Centrifugal pump, vertical in-line |  | 4420 | 0 | 0 | 8760 | 0 | 2 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
202 | 2016 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 4000 | 0 | 0 | 8760 | 0 | 2 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
136 | 1137 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 900 | 0 | 0 | 2535 | 0 | 1 | 0 | 1972 |  |  |  |  | MD | Office | 194597 | 1979 | 1 | 7 | A | suburban
190 | 1749 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 250 | 0 | 0 | 3500 | 0 | 1 | 0 | 2002 |  |  |  |  | VA | Office | 109869 | 2002 | 0 | 7 | A | downtown
98 | 761 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 645 | 0 | 0 | 3100 | 0 | 1 | 0 | 1987 |  |  |  |  | LA | Office | 462890 | 1987 | 0 | 34 | A | suburban
168 | 1482 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 3200 | 1 | 0 | 13140 | 0 | 3 | 0 | 1984 |  |  |  |  | CT | Office | 1500000 | 1984 | 0 | 7 | A | suburban
123 | 1372 | Cooling Pump | Centrifugal pump, close-coupled, end-suction | CHWP #2 | 760 | 0 | 0 | 0 | 0 | 1 | 7 | 1996 |  |  |  |  | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
98 | 760 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 900 | 0 | 0 | 3100 | 0 | 1 | 0 | 1987 |  |  |  |  | LA | Office | 462890 | 1987 | 0 | 34 | A | suburban
123 | 1374 | Cooling Pump | Condensate pump | CWP #2 | 1335 | 0 | 0 | 0 | 0 | 1 | 7 | 2002 |  |  |  |  | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
164 | 1512 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 320 | 0 | 6 | 1728 | 0 | 2 | 0 | 1984 |  |  |  |  | DC | Office | 417031 | 1983 | 0 | 9 | A | downtown
149 | 1297 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 3238 | 0 | 0 | 4420 | 0 | 7 | 6 | 1986 |  |  |  |  | FL | Office | 246804 | 1986 | 6 | 21 | A | downtown
166 | 1451 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1120 | 0 | 7 | 0 | 0 | 3 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
72 | 483 | Cooling Pump | Centrifugal pump, split-case, single stage | condenser water -supplemental tower | 900 | 0 | 0 | 6832 | 0 | 2 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
158 | 1389 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 12000 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | NY | Other | 866000 | 2000 | 8 | 12 | A | suburban
147 | 1267 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 1069 | 1 | 0 | 0 | 0 | 2 | 0 | 1999 |  |  |  |  | CO | Office | 190000 | 1961 | 0 | 27 | A | downtown
189 | 1728 | Cooling Pump | Centrifugal pump, close-coupled, end-suction | retail pumps | 450 | 0 | 0 | 8760 | 0 | 2 | 0 | 1988 |  |  |  |  | VA | Office | 139630 | 1988 | 0 | 7 | A | suburban
195 | 1820 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 1463 | 0 | 0 | 0 | 0 | 2 | 0 | 1979 |  |  |  |  | GA | Office | 134097 | 1978 | 0 | 6 | B | suburban
162 | 1420 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 5700 | 0 | 6 | 1900 | 0 | 4 | 9 | 1997 |  |  |  |  | IL | Office | 312210 | 1997 | 10 | 8 | A | suburban
168 | 1481 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 3200 | 1 | 0 | 13140 | 0 | 3 | 0 | 1984 |  |  |  |  | CT | Office | 1500000 | 1984 | 0 | 7 | A | suburban
179 | 1620 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 643 | 0 | 0 | 3000 | 0 | 1 | 0 | 1986 |  |  |  |  | CA | Office | 223580 | 1986 | 0 | 6 | A | suburban
97 | 791 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1300 | 0 | 0 | 3100 | 0 | 2 | 0 | 1983 |  |  |  |  | LA | Office | 440826 | 1983 | 0 | 19 | A | suburban
202 | 2018 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 6670 | 0 | 0 | 8760 | 0 | 2 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
98 | 759 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1480 | 0 | 0 | 3100 | 0 | 2 | 0 | 1987 |  |  |  |  | LA | Office | 462890 | 1987 | 0 | 34 | A | suburban
114 | 1022 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 1600 | 0 | 0 | 8760 | 0 | 4 | 0 | 1986 |  |  |  |  | MD | Office | 126127 | 1986 | 0 | 2 | B | rural
166 | 1452 | Cooling Pump | Centrifugal pump, vertical in-line |  | 1000 | 0 | 7 | 0 | 0 | 2 | 0 | 1995 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
135 | 1234 | Cooling Pump | Centrifugal pump, split-case, single stage | Chilled Water Pump | 200 | 1 | 7 | 3380 | 0 | 1 | 0 | 1972 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
189 | 1729 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction | condenser pump | 1200 | 0 | 0 | 3750 | 0 | 2 | 0 | 1988 |  |  |  |  | VA | Office | 139630 | 1988 | 0 | 7 | A | suburban
203 | 1791 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 1474 | 0 | 0 | 0 | 0 | 2 | 0 | 1977 |  |  |  |  | GA | Office | 134097 | 1977 | 0 | 6 | A | suburban
163 | 1504 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 300 | 1 | 6 | 2160 | 0 | 2 | 0 | 2000 |  |  |  |  | DC | Office | 236333 | 1978 | 0 | 10 | A | downtown
137 | 1104 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 3000 | 0 | 0 | 2860 | 0 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 272614 | 1986 | 0 | 20 | A | downtown
74 | 539 | Cooling Pump | Centrifugal pump, close-coupled, end-suction | Chilled Water | 831 | 0 | 0 | 3796 | 0 | 2 | 0 | 1989 |  |  |  |  | GA | Office | 378185 | 1989 | 0 | 14 | A | suburban
220 | 2182 | Cooling Pump | Centrifugal pump, split-case, multistage pump |  | 3713 | 1 | 8 | 1500 | 0 | 3 | 0 | 1981 |  |  |  |  | IL | Office | 890000 | 1981 | 0 | 28 | A | downtown
108 | 873 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 4500 | 1 | 0 | 8760 | 0 | 3 | 4 | 2000 |  |  |  |  | MA | Office | 223076 | 1986 | 10 | 4 | B | suburban
216 | 1979 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 1800 | 1 | 0 | 3000 | 0 | 2 | 0 | 1999 |  |  |  |  | TX | Office | 372283 | 1947 | 0 | 22 | A | downtown
123 | 1369 | Cooling Pump | Condensate pump | CWP #1 | 670 | 0 | 0 | 0 | 0 | 1 | 7 | 1996 |  |  |  |  | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
170 | 2120 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 2940 | 1 | 0 | 4000 | 0 | 2 | 3 | 2001 |  |  |  |  | IL | Office | 1300000 | 2001 | 9 | 51 | A | downtown
155 | 1352 | Cooling Pump | Centrifugal pump, split-case, multistage pump |  | 2699 | 0 | 0 | 2000 | 0 | 3 | 0 | 1979 |  |  |  |  | CA | Office | 730000 | 1979 | 0 | 38 | A | downtown
202 | 2020 | Cooling Pump | Centrifugal pump, vertical in-line |  | 360 | 0 | 0 | 0 | 0 | 2 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
168 | 1479 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 3200 | 1 | 0 | 13140 | 0 | 3 | 0 | 1984 |  |  |  |  | CT | Office | 1500000 | 1984 | 0 | 7 | A | suburban
124 | 945 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1320 | 0 | 12 | 3260 | 0 | 2 | 12 | 2002 |  |  |  |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
166 | 1454 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1800 | 1 | 7 | 0 | 0 | 2 | 0 | 1995 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
150 | 1360 | Cooling Pump | Centrifugal pump, vertical in-line |  | 480 | 0 | 9 | 0 | 0 | 1 | 0 | 1975 |  |  |  |  | GA | Office | 67340 | 1974 | 0 | 4 | B | suburban
75 | 561 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 390 | 0 | 0 | 0 | 0 | 2 | 0 | 1985 |  |  |  |  | CA | Office | 209812 | 1985 | 0 | 12 | A | suburban
92 | 608 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 275 | 0 | 0 | 4380 | 0 | 2 | 0 | 1986 |  |  |  |  | IL | Office | 132622 | 1986 | 1 | 18 | A | downtown
72 | 482 | Cooling Pump | Centrifugal pump, split-case, single stage | chilled water pump | 342 | 0 | 0 | 1200 | 0 | 1 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
124 | 956 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1320 | 0 | 12 | 3260 | 0 | 2 | 12 | 2002 |  |  |  |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
99 | 2202 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 17150 | 0 | 0 | 0 | 0 | 11 | 0 | 1983 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
161 | 1406 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 750 | 0 | 0 | 4056 | 0 | 2 | 0 | 1986 |  |  |  |  | FL | Office | 289465 | 1986 | 0 | 17 | A | downtown
133 | 1053 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 315 | 0 | 0 | 0 | 0 | 4 | 0 | 1973 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
97 | 790 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1800 | 0 | 0 | 3100 | 0 | 2 | 0 | 1983 |  |  |  |  | LA | Office | 440826 | 1983 | 0 | 19 | A | suburban
168 | 1480 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 3200 | 1 | 0 | 13140 | 0 | 3 | 0 | 1984 |  |  |  |  | CT | Office | 1500000 | 1984 | 0 | 7 | A | suburban
179 | 1621 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 531 | 0 | 0 | 3000 | 0 | 1 | 0 | 1986 |  |  |  |  | CA | Office | 223580 | 1986 | 0 | 6 | A | suburban
202 | 2017 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 800 | 0 | 0 | 0 | 0 | 1 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
166 | 1453 | Cooling Pump | Centrifugal pump, vertical in-line |  | 1300 | 0 | 7 | 0 | 0 | 1 | 0 | 1995 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
72 | 481 | Cooling Pump | Centrifugal pump, split-case, single stage | condenser water pump | 589 | 0 | 0 | 1200 | 0 | 1 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
135 | 1235 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1020 | 1 | 0 | 3380 | 0 | 1 | 0 | 1972 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
65 | 318 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1575 | 0 | 0 | 8760 | 0 | 4 | 6 | 1984 |  |  |  |  | MD | Other | 173594 | 1980 | 6 | 2 | A | suburban
202 | 2019 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 1534 | 0 | 0 | 0 | 0 | 1 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
215 | 1946 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 3625 | 0 | 0 | 4000 | 0 | 5 | 0 | 1991 |  |  |  |  | FL | Office | 261043 | 1991 | 0 | 14 | A | suburban
98 | 756 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 2070 | 0 | 0 | 3100 | 0 | 2 | 0 | 1987 |  |  |  |  | LA | Office | 462890 | 1987 | 0 | 34 | A | suburban
71 | 457 | Cooling Pump | Centrifugal pump, close-coupled, end-suction | Condenser pump | 1125 | 0 | 9 | 2847 | 0 | 2 | 0 | 1987 |  |  |  |  | GA | Office | 278957 | 1987 | 0 | 13 | A | suburban
221 | 2145 | Cooling Pump | Centrifugal pump, close-coupled, end-suction |  | 0 | 0 | 0 | 4380 | 0 | 2 | 0 | 1985 |  |  |  |  | MA | Office | 52721 | 1985 | 0 | 3 | B | suburban
141 | 1224 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 600 | 0 | 0 | 0 | 0 | 1 | 0 | 1982 |  |  |  |  | MD | Office | 124031 | 1983 | 0 | 6 | A | suburban
124 | 955 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 780 | 0 | 12 | 3260 | 0 | 2 | 0 | 1986 |  |  |  |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
134 | 1064 | Cooling Pump | Centrifugal pump, split-case, single stage |  | 850 | 1 | 0 | 5668 | 0 | 2 | 0 | 1990 |  |  |  |  | CA | Office | 282957 | 1990 | 0 | 11 | A | suburban
153 | 1331 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 500 | 1 | 0 | 2900 | 0 | 9 | 0 | 1986 |  |  |  |  | CA | Other | 421000 | 1986 | 0 | 3 | B | suburban
218 | 2006 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 3750 | 1 | 0 | 8760 | 0 | 3 | 0 | 2002 |  |  |  |  | AZ | Office | 240901 | 2002 | 0 | 10 | A | suburban
151 | 1318 | Cooling Pump | Centrifugal pump, vertical in-line |  | 130 | 0 | 9 | 0 | 0 | 1 | 0 | 1992 |  |  |  |  | GA | Office | 30000 | 1980 | 0 | 2 | B | suburban
96 | 784 | Cooling Pump | Centrifugal pump, split-case, single stage | condenser pump | 1350 | 0 | 12 | 3432 | 0 | 2 | 0 | 1981 |  |  |  |  | LA | Office | 289112 | 1981 | 0 | 14 | A | suburban
167 | 1442 | Cooling Pump | Condensate pump |  | 1920 | 0 | 0 | 3650 | 0 | 2 | 10 | 2004 |  |  |  |  | OH | Office | 494000 | 1983 | 11 | 27 | A | downtown
165 | 1521 | Cooling Pump | Centrifugal pump, frame-mounted, end-suction |  | 300 | 0 | 6 | 3432 | 0 | 4 | 0 | 1973 |  |  |  |  | DC | Office | 278226 | 1971 | 0 | 9 | B | downtown
123 | 1374 | Cooling Pump | Condensate pump | CWP #2 | 1335 | 0 | 0 | 0 | 0 | 1 |  | 1970 | 7 | 1996 | 1 |  | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
167 | 1442 | Cooling Pump | Condensate pump |  | 1920 | 0 | 0 | 3650 | 0 | 2 | 10 | 1983 | 10 | 2004 |  |  | OH | Office | 494000 | 1983 | 11 | 27 | A | downtown
105 | 995 | Cooling Pump | Centrifugal pump, split-case, multistage pump |  | 4380 | 1 | 12 | 0 | 0 | 5 |  | 1962 | 8 | 2004 | 3 | Inefficient | CA | Office | 301587 | 1962 | 0 | 10 | A | suburban