## Sheet1
ASHRAE Service Life Query Dataset
Search Criteria
REGION | All
STATE | All
Function | All
Size (sf) | All
Age (years) | All
Height (stories) | All
BOMA Class | All
Location | All
SYSTEM TYPE | Heating
Equipment Type | All
# Matching Buildings: |  | 262
# Matching Equipment: |  | 4794
BUILDING INFORMATION
Building ID | Equipment ID | System Type | Equipment Type | Equipment Type Other | Capacity | VFD Installed | Seasonality | Annual Run Hours | Floor Area | Quantity | Install Month | Install Year | Removal Month | Removal Year | Removal Reason | Removal Reason Other | State | Function | Gross Area | First Occupied Year | First Occupied Month | Stories | BOMA Class | Location
[5 empty] | equipment specific |  | months | hours | sf |  | month | year | month | year |  |  |  |  | square feet | year | month
300 | 2871 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 57000 | 1 | 8 | 1999 |  |  |  |  | KY | School (K-12) | 57000 | 1999 | 8 | 0
374 | 2963 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 39900 | 1 | 1 | 1996 |  |  |  |  | PA | Lodging | 39900 | 1996 | 1 | 0
312 | 2886 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 1995 | 1 | 9 | 2000 |  |  |  |  | MD | Office | 1995 | 1970 | 1 | 0
387 | 2978 | Heating | Heat exchanger, vertical bore |  | 9 | 0 | 0 | 0 | 456000 | 1 | 10 | 2001 |  |  |  |  | SC | Residential: Multi-Family | 456000 | 1993 | 1 | 0
353 | 2942 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 25620 | 1 | 1 | 1994 |  |  |  |  | OH | Office | 25620 | 1994 | 1 | 0
315 | 2892 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 31106 | 1 | 9 | 2000 |  |  |  |  | MD | Office | 31106 | 1970 | 1 | 0
217 | 1998 | Heating | Boiler, electric hot water |  | 383 | 0 | 3 | 600 | 217812 | 1 | 0 | 1999 |  |  |  |  | AZ | Office | 217812 | 1999 | 0 | 8 | A | suburban
182 | 1656 | Heating | Boiler, steel fire-tube, natural draft, hot water |  | 1200 | 0 | 0 | 1000 | 68956 | 1 | 1 | 1990 |  |  |  |  | CA | Office | 68956 | 1990 | 1 | 2 | B | suburban
232 | 2343 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1942 | 0 | 0 | 0 | 0 | 2 | 0 | 2002 |  |  |  |  | CA | Office | 221184 | 1981 | 0 | 12 | A | suburban
423 | 3019 | Heating | Heat exchanger, ground water, aquifers |  | 4 | 0 | 0 | 0 | 180000 | 1 | 1 | 1985 |  |  |  |  | WA | Other | 180000 | 1985 | 1 | 0
306 | 2877 | Heating | Heat exchanger, ground water, standing column well |  | 1 | 0 | 0 | 0 | 27000 | 1 | 1 | 1994 |  |  |  |  | MA | Other | 44000 | 1967 | 1 | 0
163 | 1530 | Heating | No heating plant |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1977 |  |  |  |  | DC | Office | 236333 | 1978 | 0 | 10 | A | downtown
368 | 2957 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 104000 | 1 | 1 | 1990 |  |  |  |  | PA | Other | 104000 | 1990 | 1 | 0
410 | 3004 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1 | 0 | 0 | 0 | 26688 | 1 | 1 | 1993 |  |  |  |  | VA | Office | 26688 | 1993 | 1 | 0
173 | 1575 | Heating | Boiler, steel fire-tube, natural draft, hot water |  | 2000 | 0 | 5 | 0 | 0 | 2 | 0 | 1983 |  |  |  |  | IA | Office | 68124 | 1983 | 0 | 4 | B | downtown
277 | 2847 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 51000 | 1 | 1 | 1999 |  |  |  |  | FL | Other | 51000 | 1930 | 1 | 0
396 | 2987 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 85800 | 1 | 1 | 1994 |  |  |  |  | SD | Residential: Multi-Family | 85800 | 1994 | 1 | 0
342 | 2924 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 3 | 0 | 0 | 0 | 66489 | 1 | 1 | 1964 |  |  |  |  | NE | School (K-12) | 73065 | 1964 | 1 | 0
145 | 1262 | Heating | Other heating equipment | VAV Box with electric reheat | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
383 | 2972 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 34840 | 1 | 10 | 2001 |  |  |  |  | SC | Lodging | 34840 | 1970 | 1 | 0
123 | 2281 | Heating | Boiler, steel water-tube, forced draft, hot water | 4 stage ultra low NOx | 1250000 | 0 | 0 | 0 | 245000 | 1 | 3 | 2001 |  |  |  |  | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
261 | 2830 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 4 | 0 | 0 | 0 | 160000 | 1 | 1 | 1992 |  |  |  |  | CN | Residential: Multi-Family | 160000 | 1992 | 1 | 0
65 | 321 | Heating | No heating plant |  | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 1984 |  |  |  |  | MD | Other | 173594 | 1980 | 6 | 2 | A | suburban
291 | 2862 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 89000 | 1 | 1 | 1994 |  |  |  |  | IN | School (K-12) | 89000 | 1994 | 1 | 0
154 | 1341 | Heating | Boiler, steel fire-tube, forced draft, hot water |  | 2 | 0 | 6 | 0 | 0 | 2 | 0 | 2000 |  |  |  |  | CA | Office | 350000 | 1975 | 0 | 20 | A | suburban
126 | 980 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 5600 | 0 | 0 | 0 | 272500 | 1 | 2 | 2002 |  |  |  |  | CA | Office | 317511 | 2002 | 5 | 6 | B | suburban
327 | 2909 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 83000 | 1 | 1 | 1995 |  |  |  |  | MN | School (K-12) | 83000 | 1995 | 1 | 0
122 | 933 | Heating | Boiler, steel fire-tube, forced draft, hot water | gas fired | 12000 | 0 | 4 | 2880 | 175000 | 2 | 0 | 1995 |  |  |  |  | NC | Office | 350000 | 1975 | 0 | 3 | A | suburban
316 | 2894 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 38283 | 1 | 1 | 1970 |  |  |  |  | MD | Office | 38283 | 1970 | 1 | 0
258 | 2826 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 32000 | 1 | 1 | 1991 |  |  |  |  | CN | School (K-12) | 32000 | 1991 | 1 | 0
385 | 2976 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 2870 | 1 | 1 | 2002 |  |  |  |  | SC | Other | 7150 | 1977 | 1 | 0
287 | 2858 | Heating | Heat exchanger, ground water, aquifers |  | 6 | 0 | 0 | 0 | 185000 | 1 | 1 | 1994 |  |  |  |  | ID | School (K-12) | 185000 | 1994 | 1 | 0
426 | 3023 | Heating | Heat exchanger, horizontal (trench) ground |  | 1 | 0 | 0 | 0 | 31000 | 1 | 1 | 1994 |  |  |  |  | WA | Office | 31000 | 1994 | 1 | 0
323 | 2905 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 30000 | 1 | 1 | 2001 |  |  |  |  | MD | Retail | 30000 | 2001 | 1 | 0
221 | 2152 | Heating | Boiler, electric hot water |  | 0 | 0 | 8 | 0 | 52721 | 1 | 0 | 1985 |  |  |  |  | MA | Office | 52721 | 1985 | 0 | 3 | B | suburban
198 | 1917 | Heating | Boiler, cast iron |  | 2026 | 0 | 8 | 5000 | 73160 | 1 | 0 | 1982 |  |  |  |  | MA | Office | 73160 | 1982 | 0 | 2 | B | suburban
234 | 2345 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 1500 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 |  |  |  |  | CA | Office | 68000 | 1980 | 0 | 5 | A | suburban
355 | 2944 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 58345 | 1 | 1 | 1996 |  |  |  |  | OH | Residential: Multi-Family | 58345 | 1996 | 1 | 0
314 | 2890 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 22361 | 1 | 9 | 2000 |  |  |  |  | MD | Office | 22361 | 1970 | 1 | 0
304 | 2875 | Heating | Heat exchanger, ground water, standing column well |  | 1 | 0 | 0 | 0 | 12400 | 1 | 1 | 1995 |  |  |  |  | MA | Other | 12400 | 1919 | 1 | 0
425 | 3021 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 29000 | 1 | 1 | 1992 |  |  |  |  | WA | School (K-12) | 39000 | 1992 | 1 | 0
168 | 1485 | Heating | Boiler, steel fire-tube, forced draft, steam |  | 8368000 | 0 | 0 | 13000 | 1500000 | 2 | 0 | 1984 |  |  |  |  | CT | Office | 1500000 | 1984 | 0 | 7 | A | suburban
412 | 3006 | Heating | Heat exchanger, horizontal ground |  | 0 | 0 | 0 | 0 | 5700 | 1 | 1 | 1995 |  |  |  |  | VA | Medical | 5700 | 1995 | 1 | 0
370 | 2959 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 15000 | 1 | 1 | 1990 |  |  |  |  | PA | Other | 15000 | 1990 | 1 | 0
185 | 1716 | Heating | Boiler, steel fire-tube, forced draft, hot water |  | 1000 | 0 | 4 | 2688 | 133470 | 2 | 0 | 1987 |  |  |  |  | NE | Office | 133470 | 1987 | 0 | 8 | A | suburban
191 | 1669 | Heating | Boiler, steel fire-tube, forced draft, steam |  | 13408 | 0 | 4 | 0 | 323000 | 2 | 0 | 1964 |  |  |  |  | GA | Office | 341000 | 1964 | 0 | 18 | B | downtown
99 | 2206 | Heating | Boiler, steel fire-tube, forced draft, steam |  | 55 | 0 | 0 | 0 | 411000 | 2 | 0 | 1969 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
275 | 2845 | Heating | Heat exchanger, ground water, aquifers |  | 8 | 0 | 0 | 0 | 265000 | 1 | 1 | 1971 |  |  |  |  | CT | Retail | 265000 | 1971 | 1 | 0
398 | 2989 | Heating | Municipal water plant |  | 1 | 0 | 0 | 0 | 44000 | 1 | 1 | 1997 |  |  |  |  | SD | School (K-12) | 44000 | 1997 | 1 | 0
340 | 2922 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1 | 0 | 0 | 0 | 22150 | 1 | 1 | 1956 |  |  |  |  | NE | School (K-12) | 22150 | 1956 | 1 | 0
384 | 2974 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 71064 | 1 | 10 | 2001 |  |  |  |  | SC | Dormitory/Barracks | 71064 | 1970 | 1 | 0
260 | 2828 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 52000 | 1 | 1 | 1991 |  |  |  |  | CN | School (K-12) | 52000 | 1991 | 1 | 0
325 | 2907 | Heating | Heat exchanger, horizontal ground |  | 0 | 0 | 0 | 0 | 11000 | 1 | 1 | 1994 |  |  |  |  | MN | Retail | 11000 | 1994 | 1 | 0
289 | 2860 | Heating | Heat exchanger, ground water, aquifers |  | 2 | 0 | 0 | 0 | 52800 | 1 | 1 | 2000 |  |  |  |  | ID | School (K-12) | 52800 | 2000 | 1 | 0
297 | 2868 | Heating | Heat exchanger, ground water, aquifers |  | 56 | 0 | 0 | 0 | 1700000 | 1 | 1 | 1993 |  |  |  |  | KY | Retail | 1700000 | 1984 | 1 | 0
377 | 2966 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 41400 | 1 | 4 | 1996 |  |  |  |  | RI | Dormitory/Barracks | 41400 | 1970 | 1 | 0
390 | 2981 | Heating | Municipal water plant |  | 4 | 0 | 0 | 0 | 225000 | 1 | 1 | 2000 |  |  |  |  | SC | Dormitory/Barracks | 225000 | 2000 | 1 | 0
346 | 2930 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 69670 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 69670 | 1995 | 1 | 0
266 | 2836 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 40000 | 1 | 1 | 1992 |  |  |  |  | CN | School (K-12) | 40000 | 1992 | 1 | 0
311 | 2883 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 19470 | 1 | 9 | 2000 |  |  |  |  | MD | Office | 19470 | 1970 | 1 | 0
141 | 1225 | Heating | Boiler, electric hot water |  | 600 | 0 | 0 | 0 | 0 | 1 | 0 | 1982 |  |  |  |  | MD | Office | 124031 | 1983 | 0 | 6 | A | suburban
79 | 939 | Heating | Other heating equipment | Radiant heat panels | 1279 | 0 | 5 | 0 | 292000 | 2000 | 0 | 1991 |  |  |  |  | CA | Office | 292000 | 1991 | 0 | 16 | A | downtown
255 | 2823 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1 | 0 | 0 | 0 | 49000 | 1 | 1 | 1989 |  |  |  |  | CN | Other | 49000 | 1989 | 1 | 0
417 | 3011 | Heating | Heat exchanger, ground water, aquifers |  | 1 | 0 | 0 | 0 | 2300 | 1 | 1 | 1995 |  |  |  |  | WA | Other | 32000 | 1956 | 1 | 0
332 | 2915 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 55000 | 1 | 1 | 1992 |  |  |  |  | MO | School (K-12) | 55000 | 1970 | 1 | 0
346 | 2934 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 3 | 0 | 0 | 0 | 69670 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 69670 | 1995 | 1 | 0
429 | 3026 | Heating | Heat exchanger, horizontal (trench) ground |  | 3 | 0 | 0 | 0 | 109000 | 1 | 9 | 1994 |  |  |  |  | WA | School (K-12) | 109000 | 1994 | 9 | 0
319 | 2900 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1998 |  |  |  |  | MD | Retail | 5000 | 1989 | 1 | 0
403 | 2996 | Heating | Heat exchanger, vertical bore |  | 6 | 0 | 0 | 0 | 165000 | 1 | 12 | 2000 |  |  |  |  | TN | School (K-12) | 210000 | 1998 | 1 | 0
360 | 2949 | Heating | Heat exchanger, ground water, aquifers |  | 1 | 0 | 0 | 0 | 57915 | 1 | 1 | 1981 |  |  |  |  | OR | School (K-12) | 57915 | 1981 | 1 | 0
283 | 2853 | Heating | Heat exchanger, ground water, aquifers |  | 0 | 0 | 0 | 0 | 14000 | 1 | 1 | 1990 |  |  |  |  | IA | Other | 14000 | 1990 | 1 | 0
299 | 2870 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 69000 | 1 | 6 | 1997 |  |  |  |  | KY | School (K-12) | 69000 | 1997 | 6 | 0
80 | 1490 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 1 | 0 | [5 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
375 | 2964 | Heating | Heat exchanger, vertical bore |  | 6 | 0 | 0 | 0 | 126780 | 1 | 1 | 1997 |  |  |  |  | PA | Other | 126780 | 1997 | 1 | 0
159 | 1396 | Heating | Other heating equipment | Electric resistance heat | 0 | 0 | 4 | 0 | 0 | 600 | 0 | 1989 |  |  |  |  | DC | Office | 585000 | 1989 | 0 | 12 | A | downtown
388 | 2979 | Heating | Heat exchanger, vertical bore |  | 11 | 0 | 0 | 0 | 569172 | 1 | 10 | 2001 |  |  |  |  | SC | Residential: Multi-Family | 569172 | 1993 | 1 | 0
78 | 533 | Heating | Other heating equipment | hot water boiler | 1250000 | 0 | 3 | 450 | 178000 | 1 | 6 | 1987 |  |  |  |  | CA | Office | 191000 | 1987 | 6 | 15 | A | downtown
160 | 1411 | Heating | District heating |  | 10 | 0 | 5 | 0 | 114000 | 1 | 6 | 2001 |  |  |  |  | NY | Office | 140000 | 2001 | 6 | 7 | A | downtown
312 | 2885 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 1995 | 1 | 9 | 2000 |  |  |  |  | MD | Office | 1995 | 1970 | 1 | 0
268 | 2838 | Heating | Heat exchanger, vertical bore |  | 7 | 0 | 0 | 0 | 120000 | 1 | 1 | 1993 |  |  |  |  | CN | School (K-12) | 120000 | 1993 | 1 | 0
334 | 2917 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 13000 | 1 | 1 | 1989 |  |  |  |  | MO | Other | 13000 | 1989 | 1 | 0
415 | 3009 | Heating | Heat exchanger, ground water, aquifers |  | 4 | 0 | 0 | 0 | 133000 | 1 | 1 | 1980 |  |  |  |  | WA | Office | 13300 | 1938 | 1 | 0
270 | 2840 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 32000 | 1 | 1 | 1993 |  |  |  |  | CN | School (K-12) | 32000 | 1993 | 1 | 0
346 | 2932 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 69670 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 69670 | 1995 | 1 | 0
257 | 2825 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 28700 | 1 | 1 | 1990 |  |  |  |  | CN | Office | 28700 | 1990 | 1 | 0
427 | 3024 | Heating | Municipal water plant |  | 2 | 0 | 0 | 0 | 91432 | 1 | 1 | 1995 |  |  |  |  | WA | Office | 91432 | 1995 | 1 | 0
85 | 583 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 3000000 | 0 | 0 | 0 | 0 | 2 | 0 | 1989 |  |  |  |  | CA | Office | 431713 | 1989 | 0 | 21 | A | suburban
358 | 2947 | Heating | Heat exchanger, ground water, aquifers |  | 1 | 0 | 0 | 0 | 58000 | 1 | 1 | 1981 |  |  |  |  | OR | School (College/University) | 58000 | 1945 | 1 | 0
285 | 2855 | Heating | Heat exchanger, horizontal ground |  | 1 | 0 | 0 | 0 | 64500 | 1 | 1 | 1996 |  |  |  |  | IA | Retail | 73500 | 1996 | 1 | 0
193 | 1965 | Heating | Boiler, steel fire-tube, natural draft, hot water |  | 1200000 | 0 | 0 | 2000 | 70069 | 1 | 7 | 1992 |  |  |  |  | CA | Office | 70069 | 1992 | 7 | 4 | A | suburban
321 | 2902 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 38410 | 1 | 1 | 1995 |  |  |  |  | MD | Office | 38410 | 1995 | 1 | 0
301 | 2872 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 60000 | 1 | 8 | 2000 |  |  |  |  | KY | School (K-12) | 62000 | 2000 | 8 | 0
373 | 2962 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 88000 | 1 | 1 | 1990 |  |  |  |  | PA | Residential: Multi-Family | 88000 | 1990 | 1 | 0
312 | 2887 | Heating | District heating |  | 0 | 0 | 0 | 0 | 1995 | 1 | 1 | 1970 |  |  |  |  | MD | Office | 1995 | 1970 | 1 | 0
178 | 1751 | Heating | Boiler, cast iron |  | 2026 | 0 | 8 | 5000 | 80738 | 1 | 0 | 1986 |  |  |  |  | MA | Office | 80738 | 1986 | 0 | 2 | B | suburban
186 | 1644 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 8000000 | 0 | 6 | 4500 | 217311 | 4 | 0 | 2003 |  |  |  |  | MO | Office | 272443 | 1972 | 0 | 23 | A | suburban
386 | 2977 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 25000 | 1 | 10 | 2001 |  |  |  |  | SC | Residential: Multi-Family | 25000 | 1993 | 1 | 0
200 | 1935 | Heating | Boiler, cast iron |  | 2026 | 0 | 8 | 5000 | 77430 | 1 | 0 | 1983 |  |  |  |  | MA | Office | 77430 | 1983 | 0 | 2 | B | suburban
142 | 1182 | Heating | Other heating equipment | Gas Fired Heating Unit | 1000 | 0 | 8 | 2080 | 80049 | 2 | 0 | 1997 |  |  |  |  | CO | Office | 80049 | 1997 | 11 | 4 | A | suburban
336 | 2919 | Heating | Heat exchanger, ground water, aquifers |  | 0 | 0 | 0 | 0 | 8100 | 1 | 1 | 1995 |  |  |  |  | MS | Office | 8100 | 1995 | 1 | 0
401 | 2992 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 161600 | 1 | 1 | 1995 |  |  |  |  | TN | School (K-12) | 161600 | 1971 | 1 | 0
272 | 2842 | Heating | Heat exchanger, horizontal ground |  | 1 | 0 | 0 | 0 | 150000 | 1 | 1 | 1999 |  |  |  |  | CN | School (K-12) | 150000 | 1999 | 1 | 0
259 | 2827 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 37000 | 1 | 1 | 1991 |  |  |  |  | CN | School (K-12) | 37000 | 1991 | 1 | 0
155 | 1353 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 12000 | 0 | 0 | 2992 | 372000 | 2 | 0 | 1979 |  |  |  |  | CA | Office | 730000 | 1979 | 0 | 38 | A | downtown
286 | 2857 | Heating | Heat exchanger, surface water, closed loop |  | 19 | 0 | 0 | 0 | 691000 | 1 | 4 | 2000 |  |  |  |  | IA | Medical | 691000 | 2000 | 4 | 0
140 | 1150 | Heating | Boiler, cast iron |  | 1562 | 0 | 6 | 1440 | 0 | 1 | 11 | 2003 |  |  |  |  | NJ | Office | 40565 | 1987 | 0 | 2 | A | suburban
53 | 2198 | Heating | Other heating equipment |  | 3600000 | 0 | 0 | 252 | 12355 | 4 | 11 | 1998 |  |  |  |  | CA | Office | 196133 | 1964 | 6 | 13 | A | suburban
356 | 2945 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 15360 | 1 | 5 | 1994 |  |  |  |  | OH | Office | 15360 | 1994 | 5 | 0
322 | 2904 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 45900 | 1 | 1 | 1997 |  |  |  |  | MD | School (K-12) | 45900 | 1997 | 1 | 0
127 | 985 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 10000 | 0 | 0 | 864 | 272500 | 1 | 2 | 2002 |  |  |  |  | CA | Office | 317511 | 2002 | 5 | 6 | B | suburban
313 | 2889 | Heating | District heating |  | 1 | 0 | 0 | 0 | 21861 | 1 | 1 | 1970 |  |  |  |  | MD | Office | 21861 | 1970 | 1 | 0
303 | 2874 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 67100 | 1 | 10 | 1996 |  |  |  |  | KY | School (K-12) | 67100 | 1996 | 10 | 0
425 | 3022 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 10000 | 1 | 1 | 1992 |  |  |  |  | WA | School (K-12) | 39000 | 1992 | 1 | 0
216 | 1980 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 5475 | 0 | 4 | 3000 | 372283 | 3 | 0 | 1999 |  |  |  |  | TX | Office | 372283 | 1947 | 0 | 22 | A | downtown
371 | 2960 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 25000 | 1 | 1 | 1990 |  |  |  |  | PA | Other | 25000 | 1990 | 1 | 0
413 | 3007 | Heating | Heat exchanger, ground water, aquifers |  | 4 | 0 | 0 | 0 | 30000 | 1 | 1 | 1988 |  |  |  |  | WA | Office | 30000 | 1900 | 1 | 0
99 | 2207 | Heating | Boiler, steel water-tube, forced draft, steam |  | 55 | 0 | 0 | 0 | 411000 | 1 | 0 | 1971 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
64 | 288 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 8000000 | 0 | 0 | 3120 | 411000 | 2 | 9 | 1985 |  |  |  |  | CA | Office | 411000 | 1985 | 9 | 24 | A | downtown
274 | 2844 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 94000 | 1 | 4 | 1992 |  |  |  |  | CN | Lodging | 94000 | 1992 | 4 | 0
399 | 2990 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 25000 | 1 | 1 | 1999 |  |  |  |  | SD | Other | 25000 | 1999 | 1 | 0
339 | 2921 | Heating | Heat exchanger, vertical bore |  | 9 | 0 | 0 | 0 | 200000 | 1 | 1 | 1998 |  |  |  |  | NE | School (K-12) | 375000 | 1950 | 1 | 0
144 | 1201 | Heating | Other heating equipment | Gas Fired Units | 1000 | 0 | 8 | 2080 | 79966 | 2 | 1 | 2001 |  |  |  |  | CO | Office | 79966 | 2001 | 1 | 4 | A | suburban
384 | 2975 | Heating | District heating |  | 2 | 0 | 0 | 0 | 71064 | 1 | 1 | 1990 |  |  |  |  | SC | Dormitory/Barracks | 71064 | 1970 | 1 | 0
261 | 2829 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 160000 | 1 | 1 | 1992 |  |  |  |  | CN | Residential: Multi-Family | 160000 | 1992 | 1 | 0
324 | 2906 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 4500 | 1 | 9 | 1997 |  |  |  |  | MN | Retail | 4500 | 1978 | 1 | 0
288 | 2859 | Heating | Heat exchanger, ground water, aquifers |  | 3 | 0 | 0 | 0 | 100000 | 1 | 1 | 1998 |  |  |  |  | ID | School (K-12) | 100000 | 1998 | 1 | 0
95 | 2108 | Heating | District heating |  | 16000000 | 0 | 0 | 9408 | 1056000 | 1 | 0 | 1980 |  |  |  |  | IL | Office | 1100000 | 1972 | 0 | 34 | A | downtown
314 | 2891 | Heating | District heating |  | 1 | 0 | 0 | 0 | 22361 | 1 | 0 | 1970 |  |  |  |  | MD | Office | 22361 | 1970 | 1 | 0
235 | 2346 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 4500 | 0 | 0 | 0 | 0 | 1 | 0 | 1967 |  |  |  |  | CA | Office | 162524 | 14 | 0 | 0 | A | suburban
354 | 2943 | Heating | Heat exchanger, vertical bore |  | 5 | 0 | 0 | 0 | 240000 | 1 | 1 | 1995 |  |  |  |  | OH | School (K-12) | 240000 | 1995 | 1 | 0
124 | 947 | Heating | Other heating equipment |  | 10 | 0 | 4 | 1040 | 547897 | 96 | 0 | 1986 |  |  |  |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
305 | 2876 | Heating | Heat exchanger, ground water, aquifers |  | 5 | 0 | 0 | 0 | 207000 | 1 | 1 | 1965 |  |  |  |  | MA | Residential: Multi-Family | 207000 | 1965 | 1 | 0
424 | 3020 | Heating | Heat exchanger, ground water, aquifers |  | 1 | 0 | 0 | 0 | 17400 | 1 | 1 | 1991 |  |  |  |  | WA | Other | 17400 | 1991 | 1 | 0
183 | 2185 | Heating | Boiler, steel fire-tube, forced draft, steam |  | 508800 | 0 | 7 | 0 | 0 | 2 | 0 | 1973 |  |  |  |  | MN | Office | 227129 | 1973 | 0 | 15 | B | suburban
168 | 1484 | Heating | Boiler, steel fire-tube, forced draft, hot water |  | 14646000 | 0 | 5 | 3200 | 1500000 | 2 | 0 | 1984 |  |  |  |  | CT | Office | 1500000 | 1984 | 0 | 7 | A | suburban
411 | 3005 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 76350 | 1 | 1 | 1994 |  |  |  |  | VA | School (K-12) | 76350 | 1994 | 1 | 0
369 | 2958 | Heating | Heat exchanger, vertical bore |  | 5 | 0 | 0 | 0 | 110000 | 1 | 1 | 1990 |  |  |  |  | PA | School (K-12) | 110000 | 1990 | 1 | 0
276 | 2846 | Heating | Heat exchanger, ground water, aquifers |  | 13 | 0 | 0 | 0 | 265000 | 1 | 1 | 1972 |  |  |  |  | CT | Office | 265000 | 1972 | 0 | 0
105 | 996 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 10750 | 0 | 3 | 0 | 300000 | 3 | 0 | 1962 |  |  |  |  | CA | Office | 301587 | 1962 | 0 | 10 | A | suburban
397 | 2988 | Heating | Municipal water plant |  | 1 | 0 | 0 | 0 | 40000 | 1 | 1 | 1997 |  |  |  |  | SD | School (K-12) | 40000 | 1997 | 1 | 0
341 | 2923 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 2 | 0 | 0 | 0 | 44276 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 44276 | 1964 | 1 | 0
197 | 2282 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1200000 | 0 | 7 | 2000 | 73730 | 1 | 6 | 2001 |  |  |  |  | CA | Office | 73730 | 1986 | 7 | 4 | A | suburban
262 | 2831 | Heating | Heat exchanger, vertical bore |  | 5 | 0 | 0 | 0 | 176100 | 1 | 1 | 1992 |  |  |  |  | CN | School (K-12) | 176100 | 1992 | 1 | 0
383 | 2973 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1 | 0 | 0 | 0 | 34840 | 1 | 1 | 1970 |  |  |  |  | SC | Lodging | 34840 | 1970 | 1 | 0
158 | 1387 | Heating | Boiler, steel fire-tube, forced draft, hot water |  | 42000000 | 0 | 0 | 0 | 866000 | 2 | 0 | 1999 |  |  |  |  | NY | Other | 866000 | 2000 | 8 | 12 | A | suburban
326 | 2908 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 82600 | 1 | 1 | 1994 |  |  |  |  | MN | School (K-12) | 82600 | 1994 | 1 | 0
290 | 2861 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 3600 | 1 | 1 | 1994 |  |  |  |  | IL | Retail | 3600 | 1994 | 1 | 0
250 | 2816 | Heating | Heat exchanger, horizontal (trench) ground |  | 1 | 0 | 0 | 0 | 42585 | 1 | 1 | 1993 |  |  |  |  | AR | School (K-12) | 42585 | 1993 | 1 | 0
86 | 636 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 6000000 | 0 | 0 | 0 | 0 | 3 | 0 | 2002 |  |  |  |  | CA | Office | 638694 | 1991 | 0 | 25 | A | suburban
352 | 2941 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 15719 | 1 | 1 | 1991 |  |  |  |  | OH | Office | 15719 | 1991 | 1 | 0
315 | 2893 | Heating | District heating |  | 1 | 0 | 0 | 0 | 31106 | 1 | 1 | 1970 |  |  |  |  | MD | Office | 31106 | 1970 | 1 | 0
422 | 3018 | Heating | Heat exchanger, ground water, aquifers |  | 6 | 0 | 0 | 0 | 135000 | 1 | 1 | 1985 |  |  |  |  | WA | Other | 135000 | 1985 | 1 | 0
233 | 2344 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 1500 | 0 | 0 | 0 | 0 | 1 | 0 | 2004 |  |  |  |  | CA | Office | 76065 | 1981 | 0 | 4 | A | suburban
177 | 1655 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1500 | 0 | 0 | 1500 | 112760 | 1 | 7 | 1989 |  |  |  |  | CA | Office | 112716 | 1989 | 7 | 6 | A | suburban
306 | 2878 | Heating | Heat exchanger, ground water, standing column well |  | 1 | 0 | 0 | 0 | 17000 | 1 | 1 | 1997 |  |  |  |  | MA | Other | 44000 | 1967 | 1 | 0
88 | 651 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 4000000 | 0 | 0 | 0 | 0 | 2 | 0 | 2002 |  |  |  |  | CA | Office | 210900 | 1988 | 0 | 12 | A | suburban
410 | 3003 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 266888 | 1 | 1 | 1993 |  |  |  |  | VA | Office | 26688 | 1993 | 1 | 0
367 | 2956 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 24000 | 1 | 1 | 1988 |  |  |  |  | PA | School (K-12) | 24000 | 1988 | 1 | 0
143 | 1184 | Heating | Other heating equipment | Gas Fired Heating Unit | 1000 | 0 | 8 | 2112 | 80049 | 2 | 2 | 1999 |  |  |  |  | CO | Office | 80049 | 1999 | 2 | 4 | A | suburban
278 | 2848 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 12000 | 1 | 1 | 1999 |  |  |  |  | FL | Other | 12000 | 1980 | 1 | 0
395 | 2986 | Heating | Municipal water plant |  | 0 | 0 | 0 | 0 | 6200 | 1 | 1 | 1994 |  |  |  |  | SD | Retail | 6200 | 1994 | 1 | 0
382 | 2971 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 11200 | 1 | 1 | 2002 |  |  |  |  | SC | Other | 11200 | 1966 | 1 | 0
230 | 2341 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 6500 | 0 | 0 | 0 | 0 | 2 | 0 | 1970 |  |  |  |  | CA | Office | 204652 | 1970 | 0 | 18 | A | suburban
343 | 2925 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 2 | 0 | 0 | 0 | 47784 | 1 | 1 | 1965 |  |  |  |  | NE | School (K-12) | 47784 | 1965 | 1 | 0
89 | 699 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 300000 | 0 | 0 | 0 | 0 | 1 | 0 | 1982 |  |  |  |  | CA | Office | 14105 | 1982 | 0 | 1 | A | suburban
263 | 2833 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 5 | 0 | 0 | 0 | 181069 | 1 | 1 | 1992 |  |  |  |  | CN | School (K-12) | 181069 | 1992 | 1 | 0
292 | 2863 | Heating | Heat exchanger, surface water, closed loop |  | 2 | 0 | 0 | 0 | 115000 | 1 | 6 | 1991 |  |  |  |  | IN | Other | 115000 | 1991 | 6 | 0
328 | 2910 | Heating | Heat exchanger, horizontal ground |  | 0 | 0 | 0 | 0 | 9500 | 1 | 1 | 1997 |  |  |  |  | MN | Other | 9400 | 1997 | 1 | 0
94 | 805 | Heating | Other heating equipment | Central plant electric duct heating to floors | 64350 | 0 | 7 | 992 | 737000 | 4 | 0 | 1980 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
316 | 2895 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 38283 | 1 | 1 | 1970 |  |  |  |  | MD | Office | 38283 | 1970 | 1 | 0
80 | 1490 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 20 | [6 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
80 | 1490 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 9 | [6 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
439 | 3303 | Heating | Other heating equipment | Dedicated Outside Air Supply (DOAS) system w/heat recovery | 250 | 0 | 12 | 75 | 33800 | 1 | 6 | 2008 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3303 | Heating | Other heating equipment | Dedicated Outside Air Supply (DOAS) system w/heat recovery | 250 | 0 | 12 | 75 | 33800 | 18 | 1 | 1991 | 10 | 2007 | 3 | Building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3303 | Heating | Other heating equipment | Dedicated Outside Air Supply (DOAS) system w/heat recovery | 250 | 0 | 12 | 75 | 33800 | 1 | 1 | 1965 | 6 | 1990 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3301 | Heating | Heat exchanger, vertical bore |  | 384 | 0 | 12 | 75 | 33800 | 13 | 6 | 2008 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3301 | Heating | Heat exchanger, vertical bore |  | 384 | 0 | 12 | 75 | 33800 | 18 | 1 | 1991 | 10 | 2007 | 3 | Building Renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3301 | Heating | Heat exchanger, vertical bore |  | 384 | 0 | 12 | 75 | 33800 | 1 | 1 | 1965 | 6 | 1990 | 3 | Building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3302 | Heating | Other heating equipment | Variable Refrigerant Flow System with heat recovery | 336 | 0 | 12 | 75 | 18750 | 26 | 6 | 2008 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3302 | Heating | Other heating equipment | Variable Refrigerant Flow System with heat recovery | 336 | 0 | 12 | 75 | 18750 | 18 | 1 | 1991 | 10 | 2007 | 3 | Building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3302 | Heating | Other heating equipment | Variable Refrigerant Flow System with heat recovery | 336 | 0 | 12 | 75 | 18750 | 1 | 1 | 1965 | 6 | 1990 | 3 | Building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
135 | 1236 | Heating | Boiler, cast iron |  | 5000 | 0 | 7 | 3380 | 166526 | 2 | 0 | 1972 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
123 | 2280 | Heating | Boiler, steel water-tube, forced draft, hot water | 4 stage ultra low NOx | 1250000 | 0 | 0 | 0 | 245000 | 1 | 7 | 2002 |  |  |  |  | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
251 | 2817 | Heating | Heat exchanger, horizontal (trench) ground |  | 0 | 0 | 0 | 0 | 23000 | 1 | 1 | 1993 |  |  |  |  | CA | Other | 23000 | 1993 | 1 | 0
351 | 2940 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 39000 | 1 | 8 | 1995 |  |  |  |  | OH | Dormitory/Barracks | 39000 | 1970 | 1 | 0
421 | 3017 | Heating | Heat exchanger, horizontal (trench) ground |  | 0 | 0 | 0 | 0 | 4600 | 1 | 1 | 1995 |  |  |  |  | WA | Office | 4600 | 1978 | 1 | 0
307 | 2879 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5287 | 1 | 1 | 1998 |  |  |  |  | MD | Retail | 5287 | 1938 | 1 | 0
176 | 1896 | Heating | Boiler, cast iron |  | 2026 | 0 | 8 | 5000 | 84711 | 1 | 0 | 1984 |  |  |  |  | MA | Office | 84711 | 1984 | 0 | 2 | B | suburban
199 | 1926 | Heating | Boiler, cast iron |  | 2026 | 0 | 8 | 5000 | 77847 | 1 | 0 | 1983 |  |  |  |  | MA | Office | 77847 | 1983 | 0 | 2 | B | suburban
366 | 2955 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 6500 | 1 | 1 | 1987 |  |  |  |  | PA | Restaurant | 6500 | 1987 | 1 | 0
409 | 3002 | Heating | Heat exchanger, ground water, aquifers |  | 27 | 0 | 0 | 0 | 683000 | 1 | 1 | 1972 |  |  |  |  | UT | Office | 683000 | 1972 | 1 | 0
121 | 928 | Heating | Boiler, electric hot water | electric reheat VAV boxes | 60000 | 0 | 5 | 3600 | 425000 | 1 | 0 | 1985 |  |  |  |  | NC | Office | 106250 | 1985 | 7 | 3 | A | suburban
394 | 2985 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 58500 | 1 | 1 | 1994 |  |  |  |  | SD | Residential: Multi-Family | 58500 | 1994 | 1 | 0
231 | 2342 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 8800 | 0 | 0 | 0 | 0 | 4 | 0 | 1984 |  |  |  |  | CA | Office | 418342 | 1984 | 0 | 6 | A | suburban
381 | 2970 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 23750 | 1 | 1 | 2002 |  |  |  |  | SC | Office | 23750 | 1958 | 1 | 0
344 | 2926 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 4 | 0 | 0 | 0 | 106769 | 1 | 1 | 1969 |  |  |  |  | NE | School (K-12) | 118632 | 1969 | 1 | 0
263 | 2832 | Heating | Heat exchanger, vertical bore |  | 5 | 0 | 0 | 0 | 181069 | 1 | 1 | 1992 |  |  |  |  | CN | School (K-12) | 181069 | 1992 | 1 | 0
293 | 2864 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 12336 | 1 | 3 | 2001 |  |  |  |  | KO | Other | 12336 | 1976 | 1 | 0
329 | 2911 | Heating | Heat exchanger, horizontal ground |  | 0 | 0 | 0 | 0 | 10418 | 1 | 1 | 1998 |  |  |  |  | MN | Other | 10418 | 1998 | 1 | 0
137 | 2278 | Heating | Boiler, steel water-tube, forced draft, hot water | Hot water boilers are used to add heat to increase closed condenser loop temperature during cold periods | 1600 | 0 | 6 | 1000 | 272614 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 272614 | 1986 | 0 | 20 | A | downtown
317 | 2896 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1 | 0 | 0 | 0 | 38652 | 1 | 1 | 1970 |  |  |  |  | MD | Other | 38652 | 1970 | 1 | 0
419 | 3015 | Heating | Heat exchanger, ground water, aquifers |  | 7 | 0 | 0 | 0 | 100000 | 1 | 1 | 1995 |  |  |  |  | WA | Office | 100000 | 1974 | 1 | 0
349 | 2938 | Heating | Heat exchanger, ground water, standing column well |  | 2 | 0 | 0 | 0 | 38000 | 1 | 1 | 1995 |  |  |  |  | NY | Lodging | 38000 | 1995 | 1 | 0
253 | 2819 | Heating | Heat exchanger, horizontal (trench) ground |  | 1 | 0 | 0 | 0 | 35000 | 1 | 1 | 1987 |  |  |  |  | CN | School (K-12) | 35000 | 1987 | 1 | 0
161 | 1407 | Heating | Other heating equipment | Fan Powered VAV Electrica coil heat | 5322720 | 0 | 3 | 1000 | 289456 | 130 | 0 | 1986 |  |  |  |  | FL | Office | 289465 | 1986 | 0 | 17 | A | downtown
407 | 3000 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 77850 | 1 | 8 | 1999 |  |  |  |  | TN | School (K-12) | 77850 | 1999 | 8 | 0
364 | 2953 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 6500 | 1 | 1 | 1988 |  |  |  |  | PA | Medical | 6500 | 1970 | 1 | 0
335 | 2918 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 78000 | 1 | 1 | 1998 |  |  |  |  | MO | School (K-12) | 78000 | 1998 | 1 | 0
256 | 2824 | Heating | Heat exchanger, ground water, aquifers |  | 0 | 0 | 0 | 0 | 15700 | 1 | 1 | 1990 |  |  |  |  | CN | Other | 15700 | 1990 | 1 | 0
102 | 830 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 3250000 | 0 | 4 | 400 | 196000 | 1 | 0 | 1987 |  |  |  |  | CA | Office | 201822 | 1987 | 12 | 17 | A | suburban
179 | 1688 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 4250 | 0 | 7 | 1500 | 186317 | 2 | 6 | 2002 |  |  |  |  | CA | Office | 223580 | 1986 | 0 | 6 | A | suburban
271 | 2841 | Heating | Heat exchanger, horizontal ground |  | 1 | 0 | 0 | 0 | 41300 | 1 | 1 | 1994 |  |  |  |  | CN | Other | 41300 | 1994 | 1 | 0
428 | 3025 | Heating | Heat exchanger, horizontal (trench) ground |  | 0 | 0 | 0 | 0 | 9400 | 1 | 1 | 1996 |  |  |  |  | WA | Retail | 25000 | 1996 | 1 | 0
147 | 1382 | Heating | District heating | high pressure steam | 8500 | 0 | 7 | 5040 | 185000 | 1 | 0 | 1999 |  |  |  |  | CO | Office | 190000 | 1961 | 0 | 27 | A | downtown
402 | 2993 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 9000 | 1 | 1 | 1997 |  |  |  |  | TN | Other | 9000 | 1997 | 1 | 0
357 | 2946 | Heating | Heat exchanger, vertical bore |  | 6 | 0 | 0 | 0 | 153800 | 1 | 1 | 1993 |  |  |  |  | OK | Residential: Multi-Family | 153800 | 1970 | 1 | 0
285 | 2856 | Heating | Heat exchanger, ground water, aquifers |  | 0 | 0 | 0 | 0 | 9000 | 1 | 1 | 1996 |  |  |  |  | IA | Retail | 73500 | 1996 | 1 | 0
321 | 2903 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 38410 | 1 | 1 | 1995 |  |  |  |  | MD | Office | 38410 | 1995 | 1 | 0
372 | 2961 | Heating | Heat exchanger, vertical bore |  | 13 | 0 | 0 | 0 | 390000 | 1 | 1 | 1990 |  |  |  |  | PA | Other | 390000 | 1990 | 1 | 0
313 | 2888 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 21861 | 1 | 9 | 2000 |  |  |  |  | MD | Office | 21861 | 1970 | 1 | 0
302 | 2873 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 58452 | 1 | 8 | 1998 |  |  |  |  | KY | School (K-12) | 58452 | 1998 | 8 | 0
174 | 1579 | Heating | Boiler, steel fire-tube, natural draft, hot water |  | 2500 | 0 | 8 | 5000 | 12200 | 2 | 7 | 1995 |  |  |  |  | CA | Office | 81709 | 1995 | 7 | 2 | B | suburban
414 | 3008 | Heating | Chiller, heat recovery, centrifugal |  | 4 | 0 | 0 | 0 | 52000 | 1 | 12 | 1982 |  |  |  |  | WA | Other | 52000 | 1917 | 1 | 0
338 | 2920 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1 | 0 | 0 | 0 | 175795 | 1 | 1 | 1990 |  |  |  |  | NE | School (K-12) | 191081 | 1926 | 1 | 0
273 | 2843 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 11300 | 1 | 1 | 1985 |  |  |  |  | CN | Retail | 11300 | 2001 | 1 | 0
400 | 2991 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 6000 | 1 | 1 | 1999 |  |  |  |  | SD | School (K-12) | 6000 | 1999 | 1 | 0
279 | 2849 | Heating | Heat exchanger, vertical bore |  | 9 | 0 | 0 | 0 | 427700 | 1 | 1 | 1998 |  |  |  |  | FL | Other | 427700 | 1980 | 1 | 0
80 | 1494 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 1 | 0 | [5 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
91 | 851 | Heating | Other heating equipment | Electric Strip Heaters | 30000 | 0 | 3 | 180 | 387832 | 21 | 0 | 1985 |  |  |  |  | CA | Office | 387832 | 1985 | 1 | 21 | A | suburban
379 | 2968 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 8900 | 1 | 1 | 2002 |  |  |  |  | SC | Other | 8900 | 1950 | 1 | 0
114 | 1024 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 405 | 0 | 6 | 4390 | 126127 | 2 | 0 | 1996 |  |  |  |  | MD | Office | 126127 | 1986 | 0 | 2 | B | rural
295 | 2866 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 27090 | 1 | 3 | 2001 |  |  |  |  | KO | Residential: Multi-Family | 27090 | 1976 | 1 | 0
392 | 2983 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 17320 | 1 | 1 | 1999 |  |  |  |  | SD | School (K-12) | 17320 | 1956 | 1 | 0
229 | 2340 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 4710 | 0 | 0 | 0 | 0 | 3 | 0 | 2004 |  |  |  |  | CA | Office | 298929 | 1980 | 0 | 15 | A | suburban
346 | 2928 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 69670 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 69670 | 1995 | 1 | 0
264 | 2834 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 34000 | 1 | 1 | 1992 |  |  |  |  | CN | School (K-12) | 34000 | 1992 | 1 | 0
309 | 2881 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 4000 | 1 | 1 | 1997 |  |  |  |  | MD | Retail | 4000 | 1962 | 1 | 0
254 | 2821 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 6600 | 1 | 12 | 1991 |  |  |  |  | CN | Office | 6600 | 1987 | 1 | 0
330 | 2913 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 2 | 0 | 0 | 0 | 78000 | 1 | 4 | 1992 |  |  |  |  | MN | School (K-12) | 78000 | 1992 | 4 | 0
418 | 3013 | Heating | Heat exchanger, ground water, aquifers |  | 4 | 0 | 0 | 0 | 58000 | 1 | 1 | 1963 |  |  |  |  | WA | Laboratory | 88000 | 1963 | 1 | 0
347 | 2936 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 31000 | 1 | 9 | 1994 |  |  |  |  | NJ | School (College/University) | 31000 | 1970 | 1 | 0
318 | 2898 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1998 |  |  |  |  | MD | Retail | 5000 | 1976 | 1 | 0
153 | 1332 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 4000000 | 0 | 5 | 1120 | 100000 | 2 | 0 | 1986 |  |  |  |  | CA | Other | 421000 | 1986 | 0 | 3 | B | suburban
405 | 2998 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 84000 | 1 | 0 | 1999 |  |  |  |  | TN | School (K-12) | 84000 | 1999 | 8 | 0
281 | 2851 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 70750 | 1 | 9 | 1999 |  |  |  |  | GA | School (K-12) | 72000 | 1999 | 9 | 0
362 | 2951 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 127330 | 1 | 6 | 1999 |  |  |  |  | PA | School (K-12) | 127330 | 1962 | 1 | 0
80 | 1492 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 1 | 0 | [5 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
420 | 3016 | Heating | Heat exchanger, ground water, aquifers |  | 112000 | 0 | 0 | 0 | 0 | 1 | 1 | 1985 |  |  |  |  | WA | Office | 112000 | 1977 | 1 | 0
350 | 2939 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 8000 | 1 | 1 | 1993 |  |  |  |  | NY | Other | 8000 | 1993 | 6 | 0
146 | 1252 | Heating | Boiler, steel fire-tube, forced draft, steam |  | 5200 | 0 | 6 | 1280 | 130000 | 2 | 0 | 1961 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
308 | 2880 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 2500 | 1 | 1 | 1997 |  |  |  |  | MD | Retail | 2500 | 1955 | 1 | 0
365 | 2954 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 109700 | 1 | 1 | 1998 |  |  |  |  | PA | School (K-12) | 109700 | 1980 | 1 | 0
408 | 3001 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 39200 | 1 | 9 | 1994 |  |  |  |  | TX | School (K-12) | 39200 | 1980 | 1 | 0
294 | 2865 | Heating | Heat exchanger, vertical bore |  | 6 | 0 | 0 | 0 | 183216 | 1 | 3 | 2001 |  |  |  |  | KO | Residential: Multi-Family | 183216 | 1976 | 1 | 0
75 | 562 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 2000000 | 0 | 0 | 0 | 0 | 2 | 2 | 2002 |  |  |  |  | CA | Office | 209812 | 1985 | 0 | 12 | A | suburban
393 | 2984 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 26000 | 1 | 3 | 2000 |  |  |  |  | SD | School (K-12) | 26000 | 1970 | 1 | 0
380 | 2969 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 13400 | 1 | 1 | 2002 |  |  |  |  | SC | Other | 13400 | 1958 | 1 | 0
228 | 2339 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 2000 | 0 | 0 | 0 | 0 | 2 | 0 | 1990 |  |  |  |  | CA | Office | 110940 | 1990 | 0 | 8 | A | suburban
57 | 271 | Heating | Boiler, steel fire-tube, natural draft, hot water |  | 1008000 | 0 | 4 | 0 | 150 | 4 | 8 | 1990 |  |  |  |  | PA | Office | 183000 | 1990 | 4 | 4 | C | suburban
345 | 2927 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 2 | 0 | 0 | 0 | 50534 | 1 | 1 | 1974 |  |  |  |  | NE | School (K-12) | 52640 | 1974 | 1 | 0
265 | 2835 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 39000 | 1 | 1 | 1992 |  |  |  |  | CN | School (K-12) | 39000 | 1992 | 1 | 0
201 | 1955 | Heating | Boiler, cast iron |  | 2026 | 0 | 0 | 5000 | 100800 | 1 | 0 | 1986 |  |  |  |  | MA | Office | 100800 | 1986 | 0 | 3 | B | suburban
330 | 2912 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 78000 | 1 | 4 | 1992 |  |  |  |  | MN | School (K-12) | 78000 | 1992 | 4 | 0
162 | 1423 | Heating | Other heating equipment | VAV box resistive heat | 2 | 0 | 6 | 3380 | 312210 | 300 | 9 | 1997 |  |  |  |  | IL | Office | 312210 | 1997 | 10 | 8 | A | suburban
348 | 2937 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 21910 | 1 | 1 | 1995 |  |  |  |  | NY | School (College/University) | 21910 | 1995 | 1 | 0
418 | 3014 | Heating | District heating |  | 25 | 0 | 0 | 0 | 30000 | 1 | 1 | 1950 |  |  |  |  | WA | Laboratory | 88000 | 1963 | 1 | 0
252 | 2818 | Heating | Municipal water plant |  | 7 | 0 | 0 | 0 | 440000 | 1 | 3 | 1995 |  |  |  |  | CA | Other | 440000 | 1995 | 3 | 0
133 | 1055 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 3420 | 0 | 0 | 3000 | 11131 | 1 | 0 | 1973 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
317 | 2897 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 38652 | 1 | 9 | 2000 |  |  |  |  | MD | Other | 38652 | 1970 | 1 | 0
280 | 2850 | Heating | Heat exchanger, ground water, aquifers |  | 1 | 0 | 0 | 0 | 15000 | 1 | 1 | 1991 |  |  |  |  | FL | Other | 15000 | 1991 | 1 | 0
406 | 2999 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 20690 | 1 | 8 | 2000 |  |  |  |  | TN | School (K-12) | 22660 | 2000 | 8 | 0
363 | 2952 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 24560 | 1 | 9 | 1999 |  |  |  |  | PA | School (K-12) | 27290 | 1970 | 1 | 0
80 | 1493 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 1 | 0 | [5 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
296 | 2867 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 31320 | 1 | 3 | 2001 |  |  |  |  | KO | Residential: Multi-Family | 31320 | 1976 | 1 | 0
378 | 2967 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 12000 | 1 | 1 | 2002 |  |  |  |  | SC | Other | 12000 | 1950 | 1 | 0
391 | 2982 | Heating | Heat exchanger, vertical bore |  | 42 | 0 | 0 | 0 | 1200000 | 1 | 1 | 2001 |  |  |  |  | SC | Other | 1200000 | 2001 | 1 | 0
166 | 1455 | Heating | Boiler, steel water-tube, forced draft, steam |  | 29291000 | 0 | 0 | 0 | 0 | 2 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
346 | 2929 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 69670 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 69670 | 1995 | 1 | 0
310 | 2882 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1997 |  |  |  |  | MD | Retail | 5000 | 1962 | 1 | 0
267 | 2837 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 42000 | 1 | 1 | 1992 |  |  |  |  | CN | School (K-12) | 42000 | 1992 | 1 | 0
417 | 3012 | Heating | Heat exchanger, ground water, aquifers |  | 1 | 0 | 0 | 0 | 32000 | 1 | 1 | 1956 |  |  |  |  | WA | Other | 32000 | 1956 | 1 | 0
331 | 2914 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5200 | 1 | 11 | 1996 |  |  |  |  | MN | Other | 5200 | 1996 | 11 | 0
253 | 2820 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1 | 0 | 0 | 0 | 35000 | 1 | 1 | 1987 |  |  |  |  | CN | School (K-12) | 35000 | 1987 | 1 | 0
169 | 1538 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 7000000 | 0 | 8 | 0 | 0 | 1 | 0 | 1984 |  |  |  |  | CA | Office | 383000 | 1984 | 0 | 19 | A | downtown
346 | 2935 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 3 | 0 | 0 | 0 | 69670 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 69670 | 1995 | 1 | 0
196 | 1993 | Heating | Boiler, steel fire-tube, natural draft, hot water |  | 12900000 | 0 | 7 | 2000 | 107276 | 1 | 7 | 1987 |  |  |  |  | CA | Office | 107276 | 1987 | 1 | 2 | A | suburban
282 | 2852 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 8000 | 1 | 1 | 1998 |  |  |  |  | IA | Office | 8000 | 1977 | 1 | 0
319 | 2899 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1999 |  |  |  |  | MD | Retail | 5000 | 1989 | 1 | 0
404 | 2997 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 107746 | 1 | 8 | 2000 |  |  |  |  | TN | Dormitory/Barracks | 107746 | 2000 | 8 | 0
361 | 2950 | Heating | Heat exchanger, vertical bore |  | 10 | 0 | 0 | 0 | 420000 | 1 | 7 | 1990 |  |  |  |  | PA | Other | 420000 | 1912 | 1 | 0
376 | 2965 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 148530 | 1 | 9 | 1996 |  |  |  |  | PA | School (K-12) | 148530 | 1970 | 9 | 0
298 | 2869 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 39564 | 1 | 6 | 1992 |  |  |  |  | KY | School (K-12) | 39564 | 1992 | 6 | 0
80 | 1491 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 1 | 0 | [5 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
389 | 2980 | Heating | Heat exchanger, vertical bore |  | 14 | 0 | 0 | 0 | 646800 | 1 | 10 | 2001 |  |  |  |  | SC | Residential: Multi-Family | 646800 | 1993 | 1 | 0
346 | 2931 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 69670 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 69670 | 1995 | 1 | 0
311 | 2884 | Heating | Boiler, steel water-tube, forced draft, steam |  | 1 | 0 | 0 | 0 | 19470 | 1 | 1 | 1970 |  |  |  |  | MD | Office | 19470 | 1970 | 1 | 0
269 | 2839 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 160000 | 1 | 1 | 1993 |  |  |  |  | CN | Office | 175000 | 1993 | 1 | 0
136 | 1081 | Heating | Other heating equipment | Sectional Boiler | 4650 | 0 | 7 | 2535 | 194579 | 2 | 0 | 1972 |  |  |  |  | MD | Office | 194597 | 1979 | 1 | 7 | A | suburban
130 | 1034 | Heating | Other heating equipment | Raidet Heat panels | 0 | 0 | 6 | 0 | 159659 | 1000 | 0 | 1992 |  |  |  |  | CA | Office | 160094 | 1992 | 0 | 11 | A | downtown
255 | 2822 | Heating | Heat exchanger, ground water, aquifers |  | 1 | 0 | 0 | 0 | 49000 | 1 | 1 | 1989 |  |  |  |  | CN | Other | 49000 | 1989 | 1 | 0
416 | 3010 | Heating | Heat exchanger, ground water, aquifers |  | 4 | 0 | 0 | 0 | 130000 | 1 | 1 | 1954 |  |  |  |  | WA | Office | 130000 | 1954 | 1 | 0
333 | 2916 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 18000 | 1 | 1 | 1987 |  |  |  |  | MO | Other | 18000 | 1987 | 1 | 0
346 | 2933 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 3 | 0 | 0 | 0 | 69670 | 1 | 1 | 1995 |  |  |  |  | NE | School (K-12) | 69670 | 1995 | 1 | 0
430 | 3027 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 32683 | 1 | 1 | 1990 |  |  |  |  | WY | Other | 32683 | 1990 | 1 | 0
359 | 2948 | Heating | Heat exchanger, ground water, aquifers |  | 6 | 0 | 0 | 0 | 248800 | 1 | 1 | 1992 |  |  |  |  | OR | Lodging | 248800 | 1972 | 1 | 0
402 | 2995 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1997 |  |  |  |  | TN | Other | 9000 | 1997 | 1 | 0
87 | 643 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 5000000 | 0 | 0 | 0 | 0 | 2 | 0 | 1980 |  |  |  |  | CA | Office | 394000 | 1980 | 0 | 20 | A | suburban
157 | 1380 | Heating | Boiler, cast iron |  | 62769000 | 0 | 0 | 0 | 0 | 3 | 0 | 1972 |  |  |  |  | IL | Office | 1069342 | 1972 | 0 | 45 | A | downtown
320 | 2901 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1999 |  |  |  |  | MD | Retail | 5000 | 1990 | 1 | 0
284 | 2854 | Heating | Heat exchanger, horizontal (trench) ground |  | 0 | 0 | 0 | 0 | 4900 | 1 | 1 | 1994 |  |  |  |  | IA | Other | 4900 | 1994 | 1 | 0
154 | 1341 | Heating | Boiler, steel fire-tube, forced draft, hot water |  | 2 | 0 | 6 | 0 | 0 | 2 |  | 1975 |  | 2000 | 1 |  | CA | Office | 350000 | 1975 | 0 | 20 | A | suburban
80 | 1491 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 20 | [6 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
80 | 1492 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 20 | [6 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
80 | 1493 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 20 | [6 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
80 | 1494 | Heating |  |  | 1111 | 0 | 0 | 0 | 0 | 20 | [6 empty] | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
186 | 1644 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 8000000 | 0 | 6 | 4500 | 217311 | 2 |  | 1972 |  | 2003 | 1 |  | MO | Office | 272443 | 1972 | 0 | 23 | A | suburban
179 | 1688 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 4250 | 0 | 7 | 1500 | 186317 | 2 |  | 1986 | 6 | 2002 | 2 |  | CA | Office | 223580 | 1986 | 0 | 6 | A | suburban
53 | 2198 | Heating | Other heating equipment |  | 3600000 | 0 | 0 | 252 | 12355 | 4 | 11 | 1964 | 9 | 1998 | 2 |  | CA | Office | 196133 | 1964 | 6 | 13 | A | suburban
123 | 2280 | Heating | Boiler, steel water-tube, forced draft, hot water | 4 stage ultra low NOx | 1250000 | 0 | 0 | 0 | 245000 | 1 |  | 1969 |  | 2002 | 2 | original base building was strip heat at 4 supplyfans | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
123 | 2281 | Heating | Boiler, steel water-tube, forced draft, hot water | 4 stage ultra low NOx | 1250000 | 0 | 0 | 0 | 245000 | 1 |  | 1969 |  | 2001 | 3 | original base building was strip heat at 4 supplyfans | CA | Office | 245768 | 1969 | 0 | 21 | A | downtown
197 | 2282 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1200000 | 0 | 7 | 2000 | 73730 | 1 | 7 | 1986 | 7 | 2001 | 2 |  | CA | Office | 73730 | 1986 | 7 | 4 | A | suburban
229 | 2340 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 4710 | 0 | 0 | 0 | 0 | 3 |  | 1981 |  | 2004 |  |  | CA | Office | 298929 | 1980 | 0 | 15 | A | suburban
232 | 2343 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 1942 | 0 | 0 | 0 | 0 | 1 |  | 1981 |  | 2002 |  |  | CA | Office | 221184 | 1981 | 0 | 12 | A | suburban
233 | 2344 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 1500 | 0 | 0 | 0 | 0 | 1 |  | 1981 |  | 2004 |  |  | CA | Office | 76065 | 1981 | 0 | 4 | A | suburban
234 | 2345 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 1500 | 0 | 0 | 0 | 0 | 1 |  | 1980 |  | 2000 |  |  | CA | Office | 68000 | 1980 | 0 | 5 | A | suburban
75 | 562 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 2000000 | 0 | 0 | 0 | 0 | 2 |  | 1985 |  | 2002 | 3 | AQMD | CA | Office | 209812 | 1985 | 0 | 12 | A | suburban
86 | 636 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 6000000 | 0 | 0 | 0 | 0 | 3 |  | 1991 |  | 2002 | 3 | AQMD | CA | Office | 638694 | 1991 | 0 | 25 | A | suburban
88 | 651 | Heating | Boiler, steel water-tube, natural draft, hot water |  | 4000000 | 0 | 0 | 0 | 0 | 2 |  | 1988 |  | 2002 | 3 | AQMD | CA | Office | 210900 | 1988 | 0 | 12 | A | suburban
114 | 1024 | Heating | Boiler, steel water-tube, forced draft, hot water |  | 405 | 0 | 6 | 4390 | 126127 | 6 |  | 1986 |  | 1996 | 3 | wearing out | MD | Office | 126127 | 1986 | 0 | 2 | B | rural
254 | 2821 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 6600 | 1 | 1 | 1987 | 12 | 1991 |  |  | CN | Office | 6600 | 1987 | 1 | 0
262 | 2831 | Heating | Heat exchanger, vertical bore |  | 5 | 0 | 0 | 0 | 176100 | 1 | 1 | 1992 | 1 | 1992 |  |  | CN | School (K-12) | 176100 | 1992 | 1 | 0
273 | 2843 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 11300 | 1 | 1 | 2001 | 1 | 1985 |  |  | CN | Retail | 11300 | 2001 | 1 | 0
277 | 2847 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 51000 | 1 | 1 | 1930 | 1 | 1999 |  |  | FL | Other | 51000 | 1930 | 1 | 0
278 | 2848 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 12000 | 1 | 1 | 1980 | 1 | 1999 |  |  | FL | Other | 12000 | 1980 | 1 | 0
279 | 2849 | Heating | Heat exchanger, vertical bore |  | 9 | 0 | 0 | 0 | 427700 | 1 | 1 | 1980 | 1 | 1998 |  |  | FL | Other | 427700 | 1980 | 1 | 0
282 | 2852 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 8000 | 1 | 1 | 1977 | 1 | 1998 |  |  | IA | Office | 8000 | 1977 | 1 | 0
293 | 2864 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 12336 | 1 | 1 | 1976 | 3 | 2001 |  |  | KO | Other | 12336 | 1976 | 1 | 0
294 | 2865 | Heating | Heat exchanger, vertical bore |  | 6 | 0 | 0 | 0 | 183216 | 1 | 1 | 1976 | 3 | 2001 |  |  | KO | Residential: Multi-Family | 183216 | 1976 | 1 | 0
295 | 2866 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 27090 | 1 | 1 | 1976 | 3 | 2001 |  |  | KO | Residential: Multi-Family | 27090 | 1976 | 1 | 0
296 | 2867 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 31320 | 1 | 1 | 1976 | 3 | 2001 |  |  | KO | Residential: Multi-Family | 31320 | 1976 | 1 | 0
297 | 2868 | Heating | Heat exchanger, ground water, aquifers |  | 56 | 0 | 0 | 0 | 1700000 | 1 | 1 | 1984 | 1 | 1993 |  |  | KY | Retail | 1700000 | 1984 | 1 | 0
304 | 2875 | Heating | Heat exchanger, ground water, standing column well |  | 1 | 0 | 0 | 0 | 12400 | 1 | 1 | 1919 | 1 | 1995 |  |  | MA | Other | 12400 | 1919 | 1 | 0
306 | 2877 | Heating | Heat exchanger, ground water, standing column well |  | 1 | 0 | 0 | 0 | 27000 | 1 | 1 | 1967 | 1 | 1994 |  |  | MA | Other | 44000 | 1967 | 1 | 0
307 | 2879 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5287 | 1 | 1 | 1938 | 1 | 1998 |  |  | MD | Retail | 5287 | 1938 | 1 | 0
308 | 2880 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 2500 | 1 | 1 | 1955 | 1 | 1997 |  |  | MD | Retail | 2500 | 1955 | 1 | 0
309 | 2881 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 4000 | 1 | 1 | 1962 | 1 | 1997 |  |  | MD | Retail | 4000 | 1962 | 1 | 0
310 | 2882 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1962 | 1 | 1997 |  |  | MD | Retail | 5000 | 1962 | 1 | 0
311 | 2883 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 19470 | 1 | 1 | 1970 | 9 | 2000 |  |  | MD | Office | 19470 | 1970 | 1 | 0
312 | 2885 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 1995 | 1 | 1 | 1970 | 9 | 2000 |  |  | MD | Office | 1995 | 1970 | 1 | 0
312 | 2886 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 1995 | 1 | 1 | 1970 | 9 | 2000 |  |  | MD | Office | 1995 | 1970 | 1 | 0
313 | 2888 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 21861 | 1 | 1 | 1970 | 9 | 2000 |  |  | MD | Office | 21861 | 1970 | 1 | 0
314 | 2890 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 22361 | 1 | 1 | 1970 | 9 | 2000 |  |  | MD | Office | 22361 | 1970 | 1 | 0
315 | 2892 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 31106 | 1 | 1 | 1970 | 9 | 2000 |  |  | MD | Office | 31106 | 1970 | 1 | 0
317 | 2897 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 38652 | 1 | 1 | 1970 | 9 | 2000 |  |  | MD | Other | 38652 | 1970 | 1 | 0
318 | 2898 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1976 | 1 | 1998 |  |  | MD | Retail | 5000 | 1976 | 1 | 0
319 | 2899 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1989 | 1 | 1999 |  |  | MD | Retail | 5000 | 1989 | 1 | 0
319 | 2900 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1989 | 1 | 1998 |  |  | MD | Retail | 5000 | 1989 | 1 | 0
320 | 2901 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 5000 | 1 | 1 | 1990 | 1 | 1999 |  |  | MD | Retail | 5000 | 1990 | 1 | 0
324 | 2906 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 4500 | 1 | 1 | 1978 | 9 | 1997 |  |  | MN | Retail | 4500 | 1978 | 1 | 0
332 | 2915 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 55000 | 1 | 1 | 1970 | 1 | 1992 |  |  | MO | School (K-12) | 55000 | 1970 | 1 | 0
339 | 2921 | Heating | Heat exchanger, vertical bore |  | 9 | 0 | 0 | 0 | 200000 | 1 | 1 | 1950 | 1 | 1998 |  |  | NE | School (K-12) | 375000 | 1950 | 1 | 0
347 | 2936 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 31000 | 1 | 1 | 1970 | 9 | 1994 |  |  | NJ | School (College/University) | 31000 | 1970 | 1 | 0
351 | 2940 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 39000 | 1 | 1 | 1970 | 8 | 1995 |  |  | OH | Dormitory/Barracks | 39000 | 1970 | 1 | 0
357 | 2946 | Heating | Heat exchanger, vertical bore |  | 6 | 0 | 0 | 0 | 153800 | 1 | 1 | 1970 | 1 | 1993 |  |  | OK | Residential: Multi-Family | 153800 | 1970 | 1 | 0
358 | 2947 | Heating | Heat exchanger, ground water, aquifers |  | 1 | 0 | 0 | 0 | 58000 | 1 | 1 | 1945 | 1 | 1981 |  |  | OR | School (College/University) | 58000 | 1945 | 1 | 0
359 | 2948 | Heating | Heat exchanger, ground water, aquifers |  | 6 | 0 | 0 | 0 | 248800 | 1 | 1 | 1972 | 1 | 1992 |  |  | OR | Lodging | 248800 | 1972 | 1 | 0
362 | 2951 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 127330 | 1 | 1 | 1962 | 6 | 1999 |  |  | PA | School (K-12) | 127330 | 1962 | 1 | 0
363 | 2952 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 24560 | 1 | 1 | 1970 | 9 | 1999 |  |  | PA | School (K-12) | 27290 | 1970 | 1 | 0
364 | 2953 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 6500 | 1 | 1 | 1970 | 1 | 1988 |  |  | PA | Medical | 6500 | 1970 | 1 | 0
365 | 2954 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 109700 | 1 | 1 | 1980 | 1 | 1998 |  |  | PA | School (K-12) | 109700 | 1980 | 1 | 0
376 | 2965 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 148530 | 1 | 1 | 1970 | 9 | 1996 |  |  | PA | School (K-12) | 148530 | 1970 | 9 | 0
377 | 2966 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 41400 | 1 | 1 | 1970 | 4 | 1996 |  |  | RI | Dormitory/Barracks | 41400 | 1970 | 1 | 0
378 | 2967 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 12000 | 1 | 1 | 1950 | 1 | 2002 |  |  | SC | Other | 12000 | 1950 | 1 | 0
379 | 2968 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 8900 | 1 | 1 | 1950 | 1 | 2002 |  |  | SC | Other | 8900 | 1950 | 1 | 0
380 | 2969 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 13400 | 1 | 1 | 1958 | 1 | 2002 |  |  | SC | Other | 13400 | 1958 | 1 | 0
381 | 2970 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 23750 | 1 | 1 | 1958 | 1 | 2002 |  |  | SC | Office | 23750 | 1958 | 1 | 0
382 | 2971 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 11200 | 1 | 1 | 1966 | 1 | 2002 |  |  | SC | Other | 11200 | 1966 | 1 | 0
383 | 2972 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 34840 | 1 | 1 | 1970 | 10 | 2001 |  |  | SC | Lodging | 34840 | 1970 | 1 | 0
384 | 2974 | Heating | Heat exchanger, vertical bore |  | 2 | 0 | 0 | 0 | 71064 | 1 | 1 | 1970 | 10 | 2001 |  |  | SC | Dormitory/Barracks | 71064 | 1970 | 1 | 0
385 | 2976 | Heating | Heat exchanger, vertical bore |  | 0 | 0 | 0 | 0 | 2870 | 1 | 1 | 1977 | 1 | 2002 |  |  | SC | Other | 7150 | 1977 | 1 | 0
386 | 2977 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 25000 | 1 | 1 | 1993 | 10 | 2001 |  |  | SC | Residential: Multi-Family | 25000 | 1993 | 1 | 0
387 | 2978 | Heating | Heat exchanger, vertical bore |  | 9 | 0 | 0 | 0 | 456000 | 1 | 1 | 1993 | 10 | 2001 |  |  | SC | Residential: Multi-Family | 456000 | 1993 | 1 | 0
388 | 2979 | Heating | Heat exchanger, vertical bore |  | 11 | 0 | 0 | 0 | 569172 | 1 | 1 | 1993 | 10 | 2001 |  |  | SC | Residential: Multi-Family | 569172 | 1993 | 1 | 0
389 | 2980 | Heating | Heat exchanger, vertical bore |  | 14 | 0 | 0 | 0 | 646800 | 1 | 1 | 1993 | 10 | 2001 |  |  | SC | Residential: Multi-Family | 646800 | 1993 | 1 | 0
391 | 2982 | Heating | Heat exchanger, vertical bore |  | 42 | 0 | 0 | 0 | 1200000 | 1 | 1 | 2001 | 1 | 2001 |  |  | SC | Other | 1200000 | 2001 | 1 | 0
392 | 2983 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 17320 | 1 | 1 | 1956 | 1 | 1999 |  |  | SD | School (K-12) | 17320 | 1956 | 1 | 0
393 | 2984 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 26000 | 1 | 1 | 1970 | 3 | 2000 |  |  | SD | School (K-12) | 26000 | 1970 | 1 | 0
401 | 2992 | Heating | Heat exchanger, vertical bore |  | 4 | 0 | 0 | 0 | 161600 | 1 | 1 | 1971 | 1 | 1995 |  |  | TN | School (K-12) | 161600 | 1971 | 1 | 0
408 | 3001 | Heating | Heat exchanger, vertical bore |  | 1 | 0 | 0 | 0 | 39200 | 1 | 9 | 1994 | 9 | 1994 |  |  | TX | School (K-12) | 39200 | 1980 | 1 | 0
411 | 3005 | Heating | Heat exchanger, vertical bore |  | 3 | 0 | 0 | 0 | 76350 | 1 | 1 | 1994 | 1 | 1994 |  |  | VA | School (K-12) | 76350 | 1994 | 1 | 0
413 | 3007 | Heating | Heat exchanger, ground water, aquifers |  | 4 | 0 | 0 | 0 | 30000 | 1 | 1 | 1900 | 1 | 1988 |  |  | WA | Office | 30000 | 1900 | 1 | 0
414 | 3008 | Heating | Chiller, heat recovery, centrifugal |  | 4 | 0 | 0 | 0 | 52000 | 1 | 1 | 1917 | 12 | 1982 |  |  | WA | Other | 52000 | 1917 | 1 | 0
415 | 3009 | Heating | Heat exchanger, ground water, aquifers |  | 4 | 0 | 0 | 0 | 133000 | 1 | 1 | 1938 | 1 | 1980 |  |  | WA | Office | 13300 | 1938 | 1 | 0
419 | 3015 | Heating | Heat exchanger, ground water, aquifers |  | 7 | 0 | 0 | 0 | 100000 | 1 | 1 | 1974 | 1 | 1995 |  |  | WA | Office | 100000 | 1974 | 1 | 0
420 | 3016 | Heating | Heat exchanger, ground water, aquifers |  | 112000 | 0 | 0 | 0 | 0 | 1 | 1 | 1977 | 1 | 1985 |  |  | WA | Office | 112000 | 1977 | 1 | 0
421 | 3017 | Heating | Heat exchanger, horizontal (trench) ground |  | 0 | 0 | 0 | 0 | 4600 | 1 | 1 | 1978 | 1 | 1995 |  |  | WA | Office | 4600 | 1978 | 1 | 0