## Sheet1
ASHRAE Service Life Query Dataset
Search Criteria
REGION | All
STATE | All
Function | All
Size (sf) | All
Age (years) | All
Height (stories) | All
BOMA Class | All
Location | All
SYSTEM TYPE | Heating Pump
Equipment Type | All
# Matching Buildings: |  | 43
# Matching Equipment: |  | 122
BUILDING INFORMATION
Building ID | Equipment ID | System Type | Equipment Type | Equipment Type Other | Capacity | VFD Installed | Seasonality | Annual Run Hours | Floor Area | Quantity | Install Month | Install Year | Removal Month | Removal Year | Removal Reason | Removal Reason Other | State | Function | Gross Area | First Occupied Year | First Occupied Month | Stories | BOMA Class | Location
[5 empty] | equipment specific |  | months | hours | sf |  | month | year | month | year |  |  |  |  | square feet | year | month
118 | 912 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 650 | 0 | 0 | 7500 | 0 | 2 | 0 | 2000 |  |  |  |  | TX | Laboratory | 121068 | 1997 | 0 | 1 | B | suburban
118 | 911 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 1500 | 0 | 0 | 7500 | 0 | 2 | 0 | 2000 |  |  |  |  | TX | Laboratory | 121068 | 1997 | 0 | 1 | B | suburban
118 | 912 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 650 | 0 | 0 | 7500 | 0 | 3 | 0 | 1997 |  |  |  |  | TX | Laboratory | 121068 | 1997 | 0 | 1 | B | suburban
118 | 911 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 1500 | 0 | 0 | 7500 | 0 | 3 | 0 | 1997 |  |  |  |  | TX | Laboratory | 121068 | 1997 | 0 | 1 | B | suburban
216 | 1981 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 450 | 0 | 4 | 2000 | 0 | 1 | 0 | 1999 |  |  |  |  | TX | Office | 372283 | 1947 | 0 | 22 | A | downtown
87 | 644 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 120 | 0 | 0 | 0 | 0 | 2 | 0 | 1980 |  |  |  |  | CA | Office | 394000 | 1980 | 0 | 20 | A | suburban
114 | 1025 | Heating Pump | Centrifugal pump, vertical in-line |  | 50 | 0 | 6 | 0 | 0 | 2 | 0 | 1986 |  |  |  |  | MD | Office | 126127 | 1986 | 0 | 2 | B | rural
136 | 1138 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 220 | 0 | 0 | 2535 | 0 | 2 | 0 | 1972 |  |  |  |  | MD | Office | 194597 | 1979 | 1 | 7 | A | suburban
183 | 2186 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 600 | 0 | 7 | 0 | 0 | 2 | 0 | 1973 |  |  |  |  | MN | Office | 227129 | 1973 | 0 | 15 | B | suburban
158 | 1388 | Heating Pump | Centrifugal pump, split-case, single stage |  | 4100 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | NY | Other | 866000 | 2000 | 8 | 12 | A | suburban
179 | 1624 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 240 | 0 | 7 | 1500 | 0 | 1 | 0 | 1986 |  |  |  |  | CA | Office | 223580 | 1986 | 0 | 6 | A | suburban
75 | 563 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 80 | 0 | 0 | 0 | 0 | 2 | 0 | 1985 |  |  |  |  | CA | Office | 209812 | 1985 | 0 | 12 | A | suburban
85 | 704 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 160 | 0 | 0 | 0 | 0 | 2 | 0 | 1989 |  |  |  |  | CA | Office | 431713 | 1989 | 0 | 21 | A | suburban
64 | 296 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 110 | 0 | 0 | 3126 | 0 | 2 | 9 | 2003 |  |  |  |  | CA | Office | 411000 | 1985 | 9 | 24 | A | downtown
146 | 1253 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 200 | 0 | 5 | 1280 | 0 | 2 | 0 | 1961 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
186 | 1646 | Heating Pump | Centrifugal pump, vertical in-line |  | 140 | 0 | 0 | 4500 | 0 | 4 | 0 | 1972 |  |  |  |  | MO | Office | 272443 | 1972 | 0 | 23 | A | suburban
147 | 1270 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 1520 | 1 | 0 | 0 | 0 | 2 | 0 | 1999 |  |  |  |  | CO | Office | 190000 | 1961 | 0 | 27 | A | downtown
166 | 1458 | Heating Pump | Centrifugal pump, split-case, single stage |  | 100 | 0 | 0 | 0 | 0 | 2 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
105 | 998 | Heating Pump | Centrifugal pump, frame-mounted, end-suction | HWP-3 | 156 | 0 | 3 | 480 | 0 | 1 | 0 | 1962 |  |  |  |  | CA | Office | 301587 | 1962 | 0 | 10 | A | suburban
166 | 1460 | Heating Pump | Centrifugal pump, split-case, single stage |  | 400 | 0 | 5 | 0 | 0 | 2 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
174 | 1580 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 0 | 0 | 8 | 5000 | 0 | 2 | 7 | 1995 |  |  |  |  | CA | Office | 81709 | 1995 | 7 | 2 | B | suburban
166 | 1462 | Heating Pump | Centrifugal pump, split-case, single stage |  | 1750 | 0 | 5 | 0 | 0 | 2 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
168 | 1486 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 1600 | 1 | 0 | 5900 | 0 | 3 | 0 | 1984 |  |  |  |  | CT | Office | 1500000 | 1984 | 0 | 7 | A | suburban
135 | 1133 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 400 | 0 | 7 | 3380 | 0 | 2 | 0 | 1972 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
57 | 273 | Heating Pump | Other pump type |  | 25 | 0 | 4 | 0 | 0 | 4 | 1 | 1990 |  |  |  |  | PA | Office | 183000 | 1990 | 4 | 4 | C | suburban
133 | 1056 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 470 | 0 | 0 | 3000 | 0 | 2 | 0 | 1993 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
138 | 1124 | Heating Pump | Centrifugal pump, frame-mounted, end-suction | Chilled Water | 350 | 0 | 0 | 3380 | 0 | 2 | 0 | 2001 |  |  |  |  | FL | Office | 121275 | 1985 | 0 | 6 | A | suburban
198 | 1907 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 0 | 0 | 0 | 4380 | 0 | 2 | 0 | 1982 |  |  |  |  | MA | Office | 73160 | 1982 | 0 | 2 | B | suburban
126 | 981 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 900 | 0 | 0 | 0 | 0 | 2 | 2 | 2002 |  |  |  |  | CA | Office | 317511 | 2002 | 5 | 6 | B | suburban
217 | 1999 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 50 | 0 | 3 | 200 | 0 | 1 | 0 | 1999 |  |  |  |  | AZ | Office | 217812 | 1999 | 0 | 8 | A | suburban
200 | 1937 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 0 | 0 | 0 | 4380 | 0 | 2 | 0 | 1983 |  |  |  |  | MA | Office | 77430 | 1983 | 0 | 2 | B | suburban
88 | 652 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 80 | 0 | 0 | 0 | 0 | 2 | 0 | 1988 |  |  |  |  | CA | Office | 210900 | 1988 | 0 | 12 | A | suburban
155 | 1358 | Heating Pump | Centrifugal pump, split-case, multistage pump |  | 600 | 0 | 0 | 2992 | 0 | 2 | 0 | 1997 |  |  |  |  | CA | Office | 730000 | 1979 | 0 | 38 | A | downtown
89 | 700 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 24 | 0 | 0 | 0 | 0 | 1 | 0 | 1982 |  |  |  |  | CA | Office | 14105 | 1982 | 0 | 1 | A | suburban
140 | 1151 | Heating Pump | Centrifugal pump, vertical in-line |  | 200 | 0 | 6 | 1440 | 0 | 2 | 6 | 1987 |  |  |  |  | NJ | Office | 40565 | 1987 | 0 | 2 | A | suburban
178 | 1752 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 0 | 0 | 0 | 4380 | 0 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 80738 | 1986 | 0 | 2 | B | suburban
166 | 1461 | Heating Pump | Centrifugal pump, split-case, single stage |  | 1120 | 0 | 5 | 0 | 0 | 2 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
160 | 1414 | Heating Pump | Centrifugal pump, split-case, single stage |  | 880 | 1 | 5 | 0 | 0 | 2 | 6 | 2001 |  |  |  |  | NY | Office | 140000 | 2001 | 6 | 7 | A | downtown
141 | 1226 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 800 | 0 | 0 | 0 | 0 | 2 | 0 | 1982 |  |  |  |  | MD | Office | 124031 | 1983 | 0 | 6 | A | suburban
105 | 999 | Heating Pump | Centrifugal pump, frame-mounted, end-suction | HWP-1 | 460 | 0 | 3 | 0 | 0 | 1 | 0 | 1962 |  |  |  |  | CA | Office | 301587 | 1962 | 0 | 10 | A | suburban
169 | 1539 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 1000 | 0 | 8 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | CA | Office | 383000 | 1984 | 0 | 19 | A | downtown
199 | 1927 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 0 | 0 | 0 | 4380 | 0 | 2 | 0 | 1983 |  |  |  |  | MA | Office | 77847 | 1983 | 0 | 2 | B | suburban
86 | 637 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 156 | 0 | 0 | 0 | 0 | 2 | 0 | 1991 |  |  |  |  | CA | Office | 638694 | 1991 | 0 | 25 | A | suburban
161 | 1408 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 530 | 0 | 0 | 4056 | 0 | 2 | 0 | 1986 |  |  |  |  | FL | Office | 289465 | 1986 | 0 | 17 | A | downtown
185 | 1713 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 0 | 0 | 6 | 0 | 0 | 2 | 0 | 1987 |  |  |  |  | NE | Office | 133470 | 1987 | 0 | 8 | A | suburban
78 | 534 | Heating Pump | Centrifugal pump, frame-mounted, end-suction |  | 1200 | 0 | 0 | 400 | 0 | 2 | 6 | 1987 |  |  |  |  | CA | Office | 191000 | 1987 | 6 | 15 | A | downtown
99 | 2292 | Heating Pump | Centrifugal pump, frame-mounted, end-suction | centrifugal pumps, split case single stage & centrifugal pumps, frame mounted end suction | 2770 | 0 | 0 | 0 | 0 | 22 | 0 | 1969 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
137 | 1207 | Heating Pump | Centrifugal pump, split-case, multistage pump |  | 300 | 0 | 0 | 2860 | 0 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 272614 | 1986 | 0 | 20 | A | downtown
186 | 1645 | Heating Pump | Centrifugal pump, split-case, multistage pump |  | 610 | 0 | 0 | 4500 | 0 | 2 | 0 | 1972 |  |  |  |  | MO | Office | 272443 | 1972 | 0 | 23 | A | suburban
176 | 1897 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 0 | 0 | 0 | 4380 | 0 | 2 | 0 | 1984 |  |  |  |  | MA | Office | 84711 | 1984 | 0 | 2 | B | suburban
53 | 220 | Heating Pump | Centrifugal pump, close-coupled, end-suction |  | 200 | 0 | 0 | 252 | 0 | 2 | 7 | 1965 |  |  |  |  | CA | Office | 196133 | 1964 | 6 | 13 | A | suburban