## Sheet1
ASHRAE Service Life Query Dataset
Search Criteria
REGION | All
STATE | All
Function | All
Size (sf) | All
Age (years) | All
Height (stories) | All
BOMA Class | All
Location | All
SYSTEM TYPE | Miscellaneous
Equipment Type | All
# Matching Buildings: |  | 108
# Matching Equipment: |  | 2254
BUILDING INFORMATION
Building ID | Equipment ID | System Type | Equipment Type | Equipment Type Other | Capacity | VFD Installed | Seasonality | Annual Run Hours | Floor Area | Quantity | Install Month | Install Year | Removal Month | Removal Year | Removal Reason | Removal Reason Other | State | Function | Gross Area | First Occupied Year | First Occupied Month | Stories | BOMA Class | Location
[5 empty] | equipment specific |  | months | hours | sf |  | month | year | month | year |  |  |  |  | square feet | year | month
122 | 935 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 1985 |  |  |  |  | NC | Office | 350000 | 1975 | 0 | 3 | A | suburban
135 | 1087 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2002 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
71 | 422 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1996 |  |  |  |  | GA | Office | 278957 | 1987 | 0 | 13 | A | suburban
99 | 836 | Miscellaneous | Other miscellaneous equipment | computer room a/c units, chilled water; heat exchanger plate & frame; exhausts fans | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1997 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
56 | 414 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 2002 |  |  |  |  | IL | Office | 725000 | 1990 | 6 | 29 | A | downtown
141 | 1229 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1982 |  |  |  |  | MD | Office | 124031 | 1983 | 0 | 6 | A | suburban
94 | 735 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1998 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
90 | 572 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2002 |  |  |  |  | TX | Office | 1036935 | 1984 | 6 | 45 | A | suburban
63 | 2205 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 1997 |  |  |  |  | PA | Office | 121520 | 1997 | 4 | 4 | C | suburban
135 | 1087 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1972 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
57 | 2204 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 1998 |  |  |  |  | PA | Office | 183000 | 1990 | 4 | 4 | C | suburban
71 | 422 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1987 |  |  |  |  | GA | Office | 278957 | 1987 | 0 | 13 | A | suburban
133 | 1052 | Miscellaneous | Other miscellaneous equipment | Computer room split sytem unit(6) | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2003 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
99 | 836 | Miscellaneous | Other miscellaneous equipment | computer room a/c units, chilled water; heat exchanger plate & frame; exhausts fans | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 1969 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
94 | 802 | Miscellaneous | Other miscellaneous equipment | Elevator AC Units | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2004 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
161 | 1413 | Miscellaneous | Fresh Air Units | Exhaust Fans | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1986 |  |  |  |  | FL | Office | 289465 | 1986 | 0 | 17 | A | downtown
161 | 1413 | Miscellaneous | Fresh Air Units | Exhaust Fans | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1986 |  |  |  |  | FL | Office | 289465 | 1986 | 0 | 17 | A | downtown
94 | 735 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1992 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
94 | 735 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1994 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
97 | 780 | Miscellaneous | Other miscellaneous equipment | Air cooled DX unit for elev equip rooms | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2003 |  |  |  |  | LA | Office | 440826 | 1983 | 0 | 19 | A | suburban
90 | 572 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2001 |  |  |  |  | TX | Office | 1036935 | 1984 | 6 | 45 | A | suburban
134 | 1071 | Miscellaneous | Other miscellaneous equipment | 10 VFDs | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1990 |  |  |  |  | CA | Office | 282957 | 1990 | 0 | 11 | A | suburban
134 | 1071 | Miscellaneous | Other miscellaneous equipment | 10 VFDs | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 1996 |  |  |  |  | CA | Office | 282957 | 1990 | 0 | 11 | A | suburban
63 | 2205 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 2003 |  |  |  |  | PA | Office | 121520 | 1997 | 4 | 4 | C | suburban
63 | 2205 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1997 |  |  |  |  | PA | Office | 121520 | 1997 | 4 | 4 | C | suburban
122 | 935 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1994 |  |  |  |  | NC | Office | 350000 | 1975 | 0 | 3 | A | suburban
57 | 2204 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 4 | 9 | 1990 |  |  |  |  | PA | Office | 183000 | 1990 | 4 | 4 | C | suburban
133 | 1052 | Miscellaneous | Other miscellaneous equipment | Computer room split sytem unit(6) | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1998 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
99 | 836 | Miscellaneous | Other miscellaneous equipment | computer room a/c units, chilled water; heat exchanger plate & frame; exhausts fans | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 1995 |  |  |  |  | IL | Office | 411672 | 1969 | 0 | 15 | B | downtown
94 | 802 | Miscellaneous | Other miscellaneous equipment | Elevator AC Units | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1980 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
56 | 414 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 2003 |  |  |  |  | IL | Office | 725000 | 1990 | 6 | 29 | A | downtown
141 | 1229 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2002 |  |  |  |  | MD | Office | 124031 | 1983 | 0 | 6 | A | suburban
97 | 780 | Miscellaneous | Other miscellaneous equipment | Air cooled DX unit for elev equip rooms | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1983 |  |  |  |  | LA | Office | 440826 | 1983 | 0 | 19 | A | suburban
90 | 572 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2003 |  |  |  |  | TX | Office | 1036935 | 1984 | 6 | 45 | A | suburban
63 | 2205 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 2003 |  |  |  |  | PA | Office | 121520 | 1997 | 4 | 4 | C | suburban
133 | 1044 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 1990 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
175 | 1735 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 1988 |  |  |  |  | NV | Office | 84808 | 1988 | 0 | 2 | B | downtown
208 | 2073 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1984 |  |  |  |  | GA | Office | 544500 | 1984 | 0 | 11 | A | suburban
192 | 1812 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1981 |  |  |  |  | GA | Office | 239699 | 1981 | 0 | 10 | B | suburban
202 | 1857 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
141 | 1228 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1982 |  |  |  |  | MD | Office | 124031 | 1983 | 0 | 6 | A | suburban
72 | 691 | Miscellaneous | Other miscellaneous equipment | Elevator Equip room water cooled DX unit ( 20ton) | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
184 | 1628 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | CA | Office | 34482 | 1987 | 0 | 2 | A | suburban
176 | 1673 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1984 |  |  |  |  | MA | Office | 84711 | 1984 | 0 | 2 | B | suburban
207 | 2165 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 2001 |  |  |  |  | GA | Office | 424635 | 1999 | 0 | 19 | A | downtown
73 | 2285 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 1997 |  |  |  |  | TX | Office | 302747 | 1984 | 8 | 19 | A | suburban
145 | 1217 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
85 | 586 | Miscellaneous | Other miscellaneous equipment | Aux. cooling tower | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1989 |  |  |  |  | CA | Office | 431713 | 1989 | 0 | 21 | A | suburban
180 | 1637 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 1983 |  |  |  |  | NJ | Office | 113604 | 1983 | 0 | 4 | A | downtown
190 | 1733 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2002 |  |  |  |  | VA | Office | 109869 | 2002 | 0 | 7 | A | downtown
145 | 1215 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
185 | 1718 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 1987 |  |  |  |  | NE | Office | 133470 | 1987 | 0 | 8 | A | suburban
170 | 2124 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 2001 |  |  |  |  | IL | Office | 1300000 | 2001 | 9 | 51 | A | downtown
141 | 1230 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1982 |  |  |  |  | MD | Office | 124031 | 1983 | 0 | 6 | A | suburban
178 | 1686 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1986 |  |  |  |  | MA | Office | 80738 | 1986 | 0 | 2 | B | suburban
205 | 2141 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1984 |  |  |  |  | GA | Office | 203418 | 1986 | 0 | 9 | A | suburban
90 | 573 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 3 | 6 | 1984 |  |  |  |  | TX | Office | 1036935 | 1984 | 6 | 45 | A | suburban
144 | 1200 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 2001 |  |  |  |  | CO | Office | 79966 | 2001 | 1 | 4 | A | suburban
76 | 494 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 1989 |  |  |  |  | CA | Office | 380000 | 1989 | 10 | 18 | A | downtown
134 | 1067 | Miscellaneous | Other miscellaneous equipment | 2 Secondary Chill Water Pumps @ 450 GPM | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1990 |  |  |  |  | CA | Office | 282957 | 1990 | 0 | 11 | A | suburban
108 | 890 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 2000 |  |  |  |  | MA | Office | 223076 | 1986 | 10 | 4 | B | suburban
72 | 631 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
72 | 449 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
110 | 856 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 1998 |  |  |  |  | FL | Office | 110000 | 1998 | 9 | 3 | B | suburban
166 | 1470 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2002 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
98 | 764 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | LA | Office | 462890 | 1987 | 0 | 34 | A | suburban
139 | 1155 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1985 |  |  |  |  | NJ | Office | 224314 | 1985 | 0 | 3 | A | suburban
173 | 1577 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2002 |  |  |  |  | IA | Office | 68124 | 1983 | 0 | 4 | B | downtown
170 | 2122 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 2001 |  |  |  |  | IL | Office | 1300000 | 2001 | 9 | 51 | A | downtown
83 | 556 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 1982 |  |  |  |  | IL | Office | 1077074 | 1983 | 0 | 39 | A | downtown
160 | 1416 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 6 | 6 | 2001 |  |  |  |  | NY | Office | 140000 | 2001 | 6 | 7 | A | downtown
195 | 2030 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1978 |  |  |  |  | GA | Office | 134097 | 1978 | 0 | 6 | B | suburban
178 | 1684 | Miscellaneous | Unit heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 80738 | 1986 | 0 | 2 | B | suburban
94 | 2283 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2004 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
216 | 1985 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | TX | Office | 372283 | 1947 | 0 | 22 | A | downtown
205 | 2139 | Miscellaneous | Computer room air conditioning unit, chilled water | Condenser Water Loop to Cooling Tower | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1985 |  |  |  |  | GA | Office | 203418 | 1986 | 0 | 9 | A | suburban
148 | 1300 | Miscellaneous | Refrigeration equipment (ice machines, walk-in coolers/freezers) | walk-in freezer | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2003 |  |  |  |  | TX | Other | 75995 | 1995 | 0 | 1 | B | suburban
147 | 1272 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 1999 |  |  |  |  | CO | Office | 190000 | 1961 | 0 | 27 | A | downtown
71 | 441 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | GA | Office | 278957 | 1987 | 0 | 13 | A | suburban
206 | 2086 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1984 |  |  |  |  | GA | Office | 438273 | 1984 | 0 | 20 | A | suburban
92 | 612 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1986 |  |  |  |  | IL | Office | 132622 | 1986 | 1 | 18 | A | downtown
71 | 424 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | GA | Office | 278957 | 1987 | 0 | 13 | A | suburban
112 | 862 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 1999 |  |  |  |  | FL | Office | 140000 | 1999 | 9 | 4 | B | suburban
189 | 1695 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 1988 |  |  |  |  | VA | Office | 139630 | 1988 | 0 | 7 | A | suburban
209 | 1883 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1990 |  |  |  |  | GA | Office | 560000 | 1986 | 0 | 11 | A | suburban
97 | 753 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1983 |  |  |  |  | LA | Office | 440826 | 1983 | 0 | 19 | A | suburban
135 | 1097 | Miscellaneous | Other miscellaneous equipment | Computer Room Air Cooled Consender | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1995 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
140 | 2289 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 1997 |  |  |  |  | NJ | Office | 40565 | 1987 | 0 | 2 | A | suburban
143 | 1176 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1999 |  |  |  |  | CO | Office | 80049 | 1999 | 2 | 4 | A | suburban
201 | 1960 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 100800 | 1986 | 0 | 3 | B | suburban
135 | 1090 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1972 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
146 | 1259 | Miscellaneous | Other miscellaneous equipment | Retail Cooling Tower | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1961 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
180 | 1612 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1983 |  |  |  |  | NJ | Office | 113604 | 1983 | 0 | 4 | A | downtown
215 | 1950 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1991 |  |  |  |  | FL | Office | 261043 | 1991 | 0 | 14 | A | suburban
124 | 2288 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2002 |  |  |  |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
221 | 2149 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1985 |  |  |  |  | MA | Office | 52721 | 1985 | 0 | 3 | B | suburban
97 | 752 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1983 |  |  |  |  | LA | Office | 440826 | 1983 | 0 | 19 | A | suburban
192 | 2057 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1981 |  |  |  |  | GA | Office | 239699 | 1981 | 0 | 10 | B | suburban
114 | 1028 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1990 |  |  |  |  | MD | Office | 126127 | 1986 | 0 | 2 | B | rural
76 | 491 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 2000 |  |  |  |  | CA | Office | 380000 | 1989 | 10 | 18 | A | downtown
126 | 983 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 12 | 1 | 2003 |  |  |  |  | CA | Office | 317511 | 2002 | 5 | 6 | B | suburban
206 | 2087 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1984 |  |  |  |  | GA | Office | 438273 | 1984 | 0 | 20 | A | suburban
220 | 2181 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1981 |  |  |  |  | IL | Office | 890000 | 1981 | 0 | 28 | A | downtown
124 | 951 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1986 |  |  |  |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
133 | 1045 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1973 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
57 | 277 | Miscellaneous | Heat recovery unit, air-to-air |  | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 1997 |  |  |  |  | PA | Office | 183000 | 1990 | 4 | 4 | C | suburban
148 | 1304 | Miscellaneous | Other miscellaneous equipment | Quincy Air Compressors (used for conveyor operations) | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1995 |  |  |  |  | TX | Other | 75995 | 1995 | 0 | 1 | B | suburban
185 | 1719 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 1987 |  |  |  |  | NE | Office | 133470 | 1987 | 0 | 8 | A | suburban
184 | 1629 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | CA | Office | 34482 | 1987 | 0 | 2 | A | suburban
174 | 1582 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 1995 |  |  |  |  | CA | Office | 81709 | 1995 | 7 | 2 | B | suburban
208 | 2072 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1984 |  |  |  |  | GA | Office | 544500 | 1984 | 0 | 11 | A | suburban
72 | 692 | Miscellaneous | Other miscellaneous equipment | Elevator equip room A/C- Chilled water coil | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
207 | 2166 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | GA | Office | 424635 | 1999 | 0 | 19 | A | downtown
146 | 1257 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1999 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
188 | 1706 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1988 |  |  |  |  | VA | Office | 56384 | 1989 | 0 | 3 | B | suburban
202 | 1856 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
74 | 2286 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1998 |  |  |  |  | GA | Office | 378185 | 1989 | 0 | 14 | A | suburban
108 | 889 | Miscellaneous | Refrigeration equipment (ice machines, walk-in coolers/freezers) |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1989 |  |  |  |  | MA | Office | 223076 | 1986 | 10 | 4 | B | suburban
78 | 536 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 10 | 6 | 1987 |  |  |  |  | CA | Office | 191000 | 1987 | 6 | 15 | A | downtown
221 | 2151 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1985 |  |  |  |  | MA | Office | 52721 | 1985 | 0 | 3 | B | suburban
201 | 1963 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1986 |  |  |  |  | MA | Office | 100800 | 1986 | 0 | 3 | B | suburban
218 | 2010 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2002 |  |  |  |  | AZ | Office | 240901 | 2002 | 0 | 10 | A | suburban
166 | 1471 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
57 | 279 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1990 |  |  |  |  | PA | Office | 183000 | 1990 | 4 | 4 | C | suburban
111 | 859 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1997 |  |  |  |  | FL | Office | 110000 | 1997 | 4 | 3 | B | suburban
56 | 412 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 20 | 6 | 1990 |  |  |  |  | IL | Office | 725000 | 1990 | 6 | 29 | A | downtown
180 | 2089 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 1983 |  |  |  |  | NJ | Office | 113604 | 1983 | 0 | 4 | A | downtown
77 | 615 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1986 |  |  |  |  | LA | Office | 545157 | 1986 | 0 | 36 | A | downtown
208 | 2074 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | GA | Office | 544500 | 1984 | 0 | 11 | A | suburban
143 | 1180 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 1999 |  |  |  |  | CO | Office | 80049 | 1999 | 2 | 4 | A | suburban
207 | 2168 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 1999 |  |  |  |  | GA | Office | 424635 | 1999 | 0 | 19 | A | downtown
185 | 1721 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1987 |  |  |  |  | NE | Office | 133470 | 1987 | 0 | 8 | A | suburban
142 | 1186 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1997 |  |  |  |  | CO | Office | 80049 | 1997 | 11 | 4 | A | suburban
217 | 2061 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1999 |  |  |  |  | AZ | Office | 217812 | 1999 | 0 | 8 | A | suburban
178 | 1685 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 80738 | 1986 | 0 | 2 | B | suburban
204 | 1892 | Miscellaneous | Computer room air conditioning unit, chilled water | Plate-frame heat exchanger | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 1987 |  |  |  |  | GA | Office | 409315 | 1987 | 0 | 19 | A | suburban
73 | 2284 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 9 | 2 | 1998 |  |  |  |  | TX | Office | 302747 | 1984 | 8 | 19 | A | suburban
149 | 1293 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 7 | 6 | 1986 |  |  |  |  | FL | Office | 246804 | 1986 | 6 | 21 | A | downtown
108 | 887 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 1989 |  |  |  |  | MA | Office | 223076 | 1986 | 10 | 4 | B | suburban
76 | 495 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 300 | 10 | 1989 |  |  |  |  | CA | Office | 380000 | 1989 | 10 | 18 | A | downtown
166 | 1469 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
139 | 1154 | Miscellaneous | Computer room air conditioning unit, chilled water |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1985 |  |  |  |  | NJ | Office | 224314 | 1985 | 0 | 3 | A | suburban
195 | 2091 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1984 |  |  |  |  | GA | Office | 134097 | 1978 | 0 | 6 | B | suburban
190 | 1747 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2002 |  |  |  |  | VA | Office | 109869 | 2002 | 0 | 7 | A | downtown
98 | 763 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | LA | Office | 462890 | 1987 | 0 | 34 | A | suburban
170 | 2123 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 30 | 3 | 2001 |  |  |  |  | IL | Office | 1300000 | 2001 | 9 | 51 | A | downtown
195 | 2029 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1978 |  |  |  |  | GA | Office | 134097 | 1978 | 0 | 6 | B | suburban
166 | 1464 | Miscellaneous | Cogeneration |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1992 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
151 | 1323 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 1992 |  |  |  |  | GA | Office | 30000 | 1980 | 0 | 2 | B | suburban
136 | 1088 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1976 |  |  |  |  | MD | Office | 194597 | 1979 | 1 | 7 | A | suburban
178 | 1687 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1986 |  |  |  |  | MA | Office | 80738 | 1986 | 0 | 2 | B | suburban
90 | 574 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 1984 |  |  |  |  | TX | Office | 1036935 | 1984 | 6 | 45 | A | suburban
146 | 1261 | Miscellaneous | Other miscellaneous equipment | Retail Condenser Pumps | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1995 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
144 | 1199 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 2001 |  |  |  |  | CO | Office | 79966 | 2001 | 1 | 4 | A | suburban
72 | 448 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
76 | 493 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 4 | 10 | 1989 |  |  |  |  | CA | Office | 380000 | 1989 | 10 | 18 | A | downtown
124 | 949 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2002 |  |  |  |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
190 | 1732 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 2002 |  |  |  |  | VA | Office | 109869 | 2002 | 0 | 7 | A | downtown
166 | 1467 | Miscellaneous | Smoke control |  | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 1992 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
180 | 1638 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 2004 |  |  |  |  | NJ | Office | 113604 | 1983 | 0 | 4 | A | downtown
145 | 1216 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
195 | 2031 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1978 |  |  |  |  | GA | Office | 134097 | 1978 | 0 | 6 | B | suburban
216 | 1984 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | TX | Office | 372283 | 1947 | 0 | 22 | A | downtown
192 | 1811 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1981 |  |  |  |  | GA | Office | 239699 | 1981 | 0 | 10 | B | suburban
202 | 1858 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
64 | 290 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 6 | 9 | 1986 |  |  |  |  | CA | Office | 411000 | 1985 | 9 | 24 | A | downtown
141 | 1231 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1982 |  |  |  |  | MD | Office | 124031 | 1983 | 0 | 6 | A | suburban
74 | 545 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 1989 |  |  |  |  | GA | Office | 378185 | 1989 | 0 | 14 | A | suburban
142 | 1190 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 11 | 1997 |  |  |  |  | CO | Office | 80049 | 1997 | 11 | 4 | A | suburban
77 | 622 | Miscellaneous | Exhaust fan | Low Rise Toilet Exhaust | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1986 |  |  |  |  | LA | Office | 545157 | 1986 | 0 | 36 | A | downtown
200 | 1942 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1983 |  |  |  |  | MA | Office | 77430 | 1983 | 0 | 2 | B | suburban
201 | 1957 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1986 |  |  |  |  | MA | Office | 100800 | 1986 | 0 | 3 | B | suburban
118 | 914 | Miscellaneous | Other miscellaneous equipment | Rooftop Chill Water Units | 0 | 0 | 0 | 0 | 0 | 29 | 0 | 1997 |  |  |  |  | TX | Laboratory | 121068 | 1997 | 0 | 1 | B | suburban
138 | 1128 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1985 |  |  |  |  | FL | Office | 121275 | 1985 | 0 | 6 | A | suburban
198 | 1912 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1982 |  |  |  |  | MA | Office | 73160 | 1982 | 0 | 2 | B | suburban
217 | 2049 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | AZ | Office | 217812 | 1999 | 0 | 8 | A | suburban
145 | 1220 | Miscellaneous | Other miscellaneous equipment | Garage Exhaust Fans | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
96 | 775 | Miscellaneous | Other miscellaneous equipment | Air cooled DX for elevator equip room | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1981 |  |  |  |  | LA | Office | 289112 | 1981 | 0 | 14 | A | suburban
55 | 237 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 15 | 1 | 1987 |  |  |  |  | PA | Office | 155829 | 1984 | 1 | 4 | B | suburban
134 | 1068 | Miscellaneous | Fresh Air Units | Outside Air fan @ 12,000 CFM | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | CA | Office | 282957 | 1990 | 0 | 11 | A | suburban
124 | 2288 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 2 |  | 2002 |  | 2002 | 2 |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
155 | 2290 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 6 |  | 1978 |  | 1985 | 3 |  | CA | Office | 730000 | 1979 | 0 | 38 | A | downtown
56 | 414 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 1990 | 6 | 2002 | 1 |  | IL | Office | 725000 | 1990 | 6 | 29 | A | downtown
56 | 414 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 1990 | 10 | 2003 | 1 |  | IL | Office | 725000 | 1990 | 6 | 29 | A | downtown
94 | 735 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1980 | 0 | 1992 | 1 |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
94 | 735 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1980 | 0 | 1994 | 1 |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
94 | 735 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1980 | 0 | 1998 | 1 |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
57 | 2204 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 1990 | 5 | 1998 | 1 |  | PA | Office | 183000 | 1990 | 4 | 4 | C | suburban
63 | 2205 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 7 | 1997 | 7 | 2003 | 2 |  | PA | Office | 121520 | 1997 | 4 | 4 | C | suburban
63 | 2205 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 10 | 1997 | 7 | 2003 | 2 |  | PA | Office | 121520 | 1997 | 4 | 4 | C | suburban
439 | 3305 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 12 | 0 | 0 | 1 | 6 | 2008 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3305 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 2001 | 10 | 2007 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3305 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 1991 | 0 | 2001 | 1 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3305 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 1965 | 0 | 1991 | 3 | Building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3307 | Miscellaneous | Exhaust fan |  | 0 | 0 | 12 | 0 | 0 | 1 | 6 | 2008 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3307 | Miscellaneous | Exhaust fan |  | 0 | 0 | 12 | 0 | 0 | 2 | 1 | 1991 | 10 | 2007 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3307 | Miscellaneous | Exhaust fan |  | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 1965 | 0 | 1991 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3310 | Miscellaneous | Other miscellaneous equipment | Pumps - 2 geothermal, 1 HW circulation | 0 | 0 | 12 | 0 | 0 | 3 | 6 | 2008 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3310 | Miscellaneous | Other miscellaneous equipment | Pumps - 2 geothermal, 1 HW circulation | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 1991 | 10 | 2007 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3310 | Miscellaneous | Other miscellaneous equipment | Pumps - 2 geothermal, 1 HW circulation | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 1965 | 0 | 1991 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3306 | Miscellaneous | Dehumidifier, solid dessicant |  | 0 | 0 | 12 | 0 | 0 | 1 | 6 | 2008 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3306 | Miscellaneous | Dehumidifier, solid dessicant |  | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 1965 | 10 | 2007 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3308 | Miscellaneous | Refrigeration equipment (ice machines, walk-in coolers/freezers) |  | 0 | 0 | 12 | 0 | 0 | 4 | 0 | 2005 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3308 | Miscellaneous | Refrigeration equipment (ice machines, walk-in coolers/freezers) |  | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 1965 | 10 | 2007 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3309 | Miscellaneous | Heat exchanger, heat wheel |  | 0 | 0 | 12 | 0 | 0 | 1 | 6 | 2008 | 0 | 0 | 0 |  | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
439 | 3309 | Miscellaneous | Heat exchanger, heat wheel |  | 0 | 0 | 12 | 0 | 0 | 1 | 0 | 1965 | 0 | 2007 | 3 | building renovation | GA | Office | 34086 | 1965 | 1 | 2 | A | downtown
72 | 499 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 192 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
94 | 806 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1980 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
205 | 2203 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | GA | Office | 203418 | 1986 | 0 | 9 | A | suburban
187 | 1635 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | CA | Office | 37315 | 1987 | 0 | 2 | A | suburban
116 | 898 | Miscellaneous | Computer room air conditioning unit, chilled water |  | 0 | 0 | 0 | 0 | 0 | 32 | 0 | 1999 |  |  |  |  | TX | Office | 805732 | 1992 | 0 | 16 | B | suburban
215 | 1988 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1991 |  |  |  |  | FL | Office | 261043 | 1991 | 0 | 14 | A | suburban
205 | 2142 | Miscellaneous | Other miscellaneous equipment | Pressurization Fans | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | GA | Office | 203418 | 1986 | 0 | 9 | A | suburban
209 | 1881 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1990 |  |  |  |  | GA | Office | 560000 | 1986 | 0 | 11 | A | suburban
108 | 883 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 2000 |  |  |  |  | MA | Office | 223076 | 1986 | 10 | 4 | B | suburban
176 | 1665 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | MA | Office | 84711 | 1984 | 0 | 2 | B | suburban
86 | 638 | Miscellaneous | Other miscellaneous equipment | closed loop cooling tower | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1991 |  |  |  |  | CA | Office | 638694 | 1991 | 0 | 25 | A | suburban
218 | 2065 | Miscellaneous | Heat exchanger, heat pipe |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2002 |  |  |  |  | AZ | Office | 240901 | 2002 | 0 | 10 | A | suburban
135 | 1099 | Miscellaneous | Other miscellaneous equipment | Domestic Water Pumps | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1972 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
138 | 1127 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1985 |  |  |  |  | FL | Office | 121275 | 1985 | 0 | 6 | A | suburban
145 | 1221 | Miscellaneous | Other miscellaneous equipment | Elevator Room A/C | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
198 | 1911 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1982 |  |  |  |  | MA | Office | 73160 | 1982 | 0 | 2 | B | suburban
96 | 774 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1981 |  |  |  |  | LA | Office | 289112 | 1981 | 0 | 14 | A | suburban
154 | 1343 | Miscellaneous | Other miscellaneous equipment | Outside Air Economizers for Chillers | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1998 |  |  |  |  | CA | Office | 350000 | 1975 | 0 | 20 | A | suburban
72 | 484 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1984 |  |  |  |  | LA | Office | 619714 | 1984 | 0 | 32 | A | downtown
162 | 1422 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1997 |  |  |  |  | IL | Office | 312210 | 1997 | 10 | 8 | A | suburban
55 | 240 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 10 | 1 | 1984 |  |  |  |  | PA | Office | 155829 | 1984 | 1 | 4 | B | suburban
94 | 804 | Miscellaneous | Other miscellaneous equipment | Pneumatic air compressor | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1980 |  |  |  |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
134 | 1069 | Miscellaneous | Exhaust fan | 5 Toilet Exhaust Fan | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1990 |  |  |  |  | CA | Office | 282957 | 1990 | 0 | 11 | A | suburban
216 | 1986 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1999 |  |  |  |  | TX | Office | 372283 | 1947 | 0 | 22 | A | downtown
139 | 1157 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 1985 |  |  |  |  | NJ | Office | 224314 | 1985 | 0 | 3 | A | suburban
180 | 1613 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1983 |  |  |  |  | NJ | Office | 113604 | 1983 | 0 | 4 | A | downtown
135 | 1091 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2001 |  |  |  |  | MD | Office | 166526 | 1972 | 0 | 8 | A | suburban
146 | 1260 | Miscellaneous | Other miscellaneous equipment | Condensate Pumps | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1961 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
148 | 2287 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 2000 |  |  |  |  | TX | Other | 75995 | 1995 | 0 | 1 | B | suburban
144 | 1198 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 2001 |  |  |  |  | CO | Office | 79966 | 2001 | 1 | 4 | A | suburban
221 | 2150 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1985 |  |  |  |  | MA | Office | 52721 | 1985 | 0 | 3 | B | suburban
192 | 2056 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1981 |  |  |  |  | GA | Office | 239699 | 1981 | 0 | 10 | B | suburban
97 | 751 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1983 |  |  |  |  | LA | Office | 440826 | 1983 | 0 | 19 | A | suburban
153 | 1335 | Miscellaneous | Computer room air conditioning unit, chilled water |  | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 1986 |  |  |  |  | CA | Other | 421000 | 1986 | 0 | 3 | B | suburban
114 | 1029 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2001 |  |  |  |  | MD | Office | 126127 | 1986 | 0 | 2 | B | rural
76 | 492 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 10 | 1989 |  |  |  |  | CA | Office | 380000 | 1989 | 10 | 18 | A | downtown
166 | 1472 | Miscellaneous | Heat exchanger, hot water |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1969 |  |  |  |  | MN | Other | 1300000 | 1969 | 8 | 2 | A | suburban
98 | 781 | Miscellaneous | Other miscellaneous equipment | water cooled DX unit for elev equip room | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1987 |  |  |  |  | LA | Office | 462890 | 1987 | 0 | 34 | A | suburban
133 | 1046 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1973 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
176 | 1902 | Miscellaneous | Unit heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | MA | Office | 84711 | 1984 | 0 | 2 | B | suburban
57 | 278 | Miscellaneous | Refrigeration equipment (ice machines, walk-in coolers/freezers) |  | 0 | 0 | 0 | 0 | 0 | 5 | 2 | 1990 |  |  |  |  | PA | Office | 183000 | 1990 | 4 | 4 | C | suburban
171 | 1549 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1990 |  |  |  |  | FL | Office | 118728 | 1990 | 1 | 5 | B | suburban
195 | 2028 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1978 |  |  |  |  | GA | Office | 134097 | 1978 | 0 | 6 | B | suburban
56 | 413 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 12 | 6 | 1990 |  |  |  |  | IL | Office | 725000 | 1990 | 6 | 29 | A | downtown
199 | 1932 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1983 |  |  |  |  | MA | Office | 77847 | 1983 | 0 | 2 | B | suburban
77 | 693 | Miscellaneous | Other miscellaneous equipment | Elevator Equip room water cooled DX unit | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1986 |  |  |  |  | LA | Office | 545157 | 1986 | 0 | 36 | A | downtown
87 | 646 | Miscellaneous | Other miscellaneous equipment |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1980 |  |  |  |  | CA | Office | 394000 | 1980 | 0 | 20 | A | suburban
207 | 2167 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | GA | Office | 424635 | 1999 | 0 | 19 | A | downtown
185 | 1722 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1987 |  |  |  |  | NE | Office | 133470 | 1987 | 0 | 8 | A | suburban
119 | 922 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | TX | Laboratory | 33660 | 1981 | 0 | 1 | B | suburban
188 | 1705 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1988 |  |  |  |  | VA | Office | 56384 | 1989 | 0 | 3 | B | suburban
136 | 1093 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1972 |  |  |  |  | MD | Office | 194597 | 1979 | 1 | 7 | A | suburban
202 | 1855 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
117 | 905 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2001 |  |  |  |  | TX | Office | 280000 | 2001 | 0 | 7 | A | suburban
215 | 1949 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1991 |  |  |  |  | FL | Office | 261043 | 1991 | 0 | 14 | A | suburban
121 | 930 | Miscellaneous | Computer room air conditioning unit, chilled water |  | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 1985 |  |  |  |  | NC | Office | 106250 | 1985 | 7 | 3 | A | suburban
125 | 977 | Miscellaneous | Computer room air conditioning unit, chilled water |  | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 1998 |  |  |  |  | FL | Office | 635000 | 1998 | 5 | 3 | A | suburban
108 | 881 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1989 |  |  |  |  | MA | Office | 223076 | 1986 | 10 | 4 | B | suburban
214 | 1924 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1984 |  |  |  |  | FL | Office | 1244100 | 1984 | 0 | 55 | A | downtown
74 | 544 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1989 |  |  |  |  | GA | Office | 378185 | 1989 | 0 | 14 | A | suburban
77 | 623 | Miscellaneous | Exhaust fan | High Rise Toilet Exhaust | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1986 |  |  |  |  | LA | Office | 545157 | 1986 | 0 | 36 | A | downtown
80 | 717 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1973 |  |  |  |  | IL | Office | 698466 | 1973 | 2 | 23 | B | downtown
200 | 1941 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1983 |  |  |  |  | MA | Office | 77430 | 1983 | 0 | 2 | B | suburban
198 | 1909 | Miscellaneous | Unit heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1982 |  |  |  |  | MA | Office | 73160 | 1982 | 0 | 2 | B | suburban
145 | 1219 | Miscellaneous | Other miscellaneous equipment | Domestic Water Pumps | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
108 | 879 | Miscellaneous | Computer room air conditioning unit, chilled water |  | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 1989 |  |  |  |  | MA | Office | 223076 | 1986 | 10 | 4 | B | suburban
176 | 1900 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1984 |  |  |  |  | MA | Office | 84711 | 1984 | 0 | 2 | B | suburban
133 | 1048 | Miscellaneous | Other miscellaneous equipment | Domestic Cold Water Pumps | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1973 |  |  |  |  | CA | Office | 155847 | 1973 | 0 | 14 | A | suburban
189 | 1693 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1988 |  |  |  |  | VA | Office | 139630 | 1988 | 0 | 7 | A | suburban
159 | 2291 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 2004 |  |  |  |  | DC | Office | 585000 | 1989 | 0 | 12 | A | downtown
191 | 1885 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 10 | 1986 |  |  |  |  | GA | Office | 341000 | 1964 | 0 | 18 | B | downtown
199 | 1930 | Miscellaneous | Unit heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1983 |  |  |  |  | MA | Office | 77847 | 1983 | 0 | 2 | B | suburban
202 | 1853 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1989 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
187 | 1636 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | CA | Office | 37315 | 1987 | 0 | 2 | A | suburban
75 | 575 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1985 |  |  |  |  | CA | Office | 209812 | 1985 | 0 | 12 | A | suburban
189 | 1696 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1988 |  |  |  |  | VA | Office | 139630 | 1988 | 0 | 7 | A | suburban
209 | 1880 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1990 |  |  |  |  | GA | Office | 560000 | 1986 | 0 | 11 | A | suburban
142 | 1188 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 11 | 1997 |  |  |  |  | CO | Office | 80049 | 1997 | 11 | 4 | A | suburban
77 | 624 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 1986 |  |  |  |  | LA | Office | 545157 | 1986 | 0 | 36 | A | downtown
200 | 1940 | Miscellaneous | Unit heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1983 |  |  |  |  | MA | Office | 77430 | 1983 | 0 | 2 | B | suburban
137 | 1111 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1986 |  |  |  |  | MA | Office | 272614 | 1986 | 0 | 20 | A | downtown
198 | 1910 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1982 |  |  |  |  | MA | Office | 73160 | 1982 | 0 | 2 | B | suburban
215 | 2098 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1991 |  |  |  |  | FL | Office | 261043 | 1991 | 0 | 14 | A | suburban
138 | 1126 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1999 |  |  |  |  | FL | Office | 121275 | 1985 | 0 | 6 | A | suburban
158 | 1391 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1999 |  |  |  |  | NY | Other | 866000 | 2000 | 8 | 12 | A | suburban
96 | 773 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1981 |  |  |  |  | LA | Office | 289112 | 1981 | 0 | 14 | A | suburban
88 | 654 | Miscellaneous | Other miscellaneous equipment | computer loop cooling tower | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1988 |  |  |  |  | CA | Office | 210900 | 1988 | 0 | 12 | A | suburban
145 | 1218 | Miscellaneous | Smoke control |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1987 |  |  |  |  | VA | Office | 377500 | 1987 | 0 | 12 | A | suburban
55 | 239 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 1984 |  |  |  |  | PA | Office | 155829 | 1984 | 1 | 4 | B | suburban
202 | 2160 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 2003 |  |  |  |  | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
134 | 1070 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1990 |  |  |  |  | CA | Office | 282957 | 1990 | 0 | 11 | A | suburban
139 | 1156 | Miscellaneous | Fume Hoods/Cabinets |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1985 |  |  |  |  | NJ | Office | 224314 | 1985 | 0 | 3 | A | suburban
115 | 925 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 | 7 | 1999 |  |  |  |  | FL | Office | 120000 | 1999 | 9 | 3 | B | suburban
148 | 1301 | Miscellaneous | Other miscellaneous equipment | Computer Room AC Unit, split system - air cooled | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2003 |  |  |  |  | TX | Other | 75995 | 1995 | 0 | 1 | B | suburban
150 | 1363 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 1975 |  |  |  |  | GA | Office | 67340 | 1974 | 0 | 4 | B | suburban
163 | 1508 | Miscellaneous | Humidifiers |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 |  |  |  |  | DC | Office | 236333 | 1978 | 0 | 10 | A | downtown
77 | 626 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 158 | 0 | 1986 |  |  |  |  | LA | Office | 545157 | 1986 | 0 | 36 | A | downtown
201 | 1961 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1986 |  |  |  |  | MA | Office | 100800 | 1986 | 0 | 3 | B | suburban
146 | 1256 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1961 |  |  |  |  | DC | Office | 142000 | 1961 | 0 | 12 | C | downtown
136 | 1100 | Miscellaneous | Other miscellaneous equipment | Domestic Water Pumps | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1972 |  |  |  |  | MD | Office | 194597 | 1979 | 1 | 7 | A | suburban
199 | 1931 | Miscellaneous | Baseboard/Finned Tube Radiation |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1983 |  |  |  |  | MA | Office | 77847 | 1983 | 0 | 2 | B | suburban
136 | 1096 | Miscellaneous | Other miscellaneous equipment | Computer room air cooled A/C | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1985 |  |  |  |  | MD | Office | 194597 | 1979 | 1 | 7 | A | suburban
129 | 1004 | Miscellaneous | Other miscellaneous equipment | cooling tower | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1987 |  |  |  |  | CA | Office | 35000 | 1987 | 1 | 2 | B | suburban
148 | 1303 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1998 |  |  |  |  | TX | Other | 75995 | 1995 | 0 | 1 | B | suburban
200 | 1944 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1983 |  |  |  |  | MA | Office | 77430 | 1983 | 0 | 2 | B | suburban
170 | 1553 | Miscellaneous | Computer room air conditioning unit, chilled water |  | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 2002 |  |  |  |  | IL | Office | 1300000 | 2001 | 9 | 51 | A | downtown
201 | 1959 | Miscellaneous | Unit heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1986 |  |  |  |  | MA | Office | 100800 | 1986 | 0 | 3 | B | suburban
174 | 1583 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 5 | 7 | 1995 |  |  |  |  | CA | Office | 81709 | 1995 | 7 | 2 | B | suburban
143 | 1177 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 1999 |  |  |  |  | CO | Office | 80049 | 1999 | 2 | 4 | A | suburban
206 | 2085 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1984 |  |  |  |  | GA | Office | 438273 | 1984 | 0 | 20 | A | suburban
220 | 2179 | Miscellaneous | Perimeter heating, supplemental heating |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1981 |  |  |  |  | IL | Office | 890000 | 1981 | 0 | 28 | A | downtown
92 | 611 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2004 |  |  |  |  | IL | Office | 132622 | 1986 | 1 | 18 | A | downtown
71 | 423 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1987 |  |  |  |  | GA | Office | 278957 | 1987 | 0 | 13 | A | suburban
155 | 2290 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1997 |  |  |  |  | CA | Office | 730000 | 1979 | 0 | 38 | A | downtown
203 | 1788 | Miscellaneous | Computer room air conditioning unit, chilled water | Liebert Unit | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1977 |  |  |  |  | GA | Office | 134097 | 1977 | 0 | 6 | A | suburban
199 | 1929 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1983 |  |  |  |  | MA | Office | 77847 | 1983 | 0 | 2 | B | suburban
209 | 1882 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 1990 |  |  |  |  | GA | Office | 560000 | 1986 | 0 | 11 | A | suburban
214 | 2023 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1984 |  |  |  |  | FL | Office | 1244100 | 1984 | 0 | 55 | A | downtown
148 | 1300 | Miscellaneous | Refrigeration equipment (ice machines, walk-in coolers/freezers) | walk-in freezer | 0 | 0 | 0 | 0 | 0 | 0 |  | 2003 |  | 2003 |  |  | TX | Other | 75995 | 1995 | 0 | 1 | B | suburban
148 | 1301 | Miscellaneous | Other miscellaneous equipment | Computer Room AC Unit, split system - air cooled | 0 | 0 | 0 | 0 | 0 | 1 |  | 1995 |  | 2003 | 3 | became undersized | TX | Other | 75995 | 1995 | 0 | 1 | B | suburban
163 | 1508 | Miscellaneous | Humidifiers |  | 0 | 0 | 0 | 0 | 0 | 2 |  | 1977 |  | 2000 | 2 |  | DC | Office | 236333 | 1978 | 0 | 10 | A | downtown
173 | 1577 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 |  | 1983 |  | 2002 | 1 |  | IA | Office | 68124 | 1983 | 0 | 4 | B | downtown
180 | 1638 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 |  | 1983 | 7 | 2004 | 1 |  | NJ | Office | 113604 | 1983 | 0 | 4 | A | downtown
191 | 1885 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 2 |  | 1964 |  | 1986 | 2 |  | GA | Office | 341000 | 1964 | 0 | 18 | B | downtown
202 | 2160 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 |  | 1989 |  | 2003 | 3 | Age | GA | Office | 770840 | 1988 | 0 | 39 | A | downtown
207 | 2165 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 4 |  | 1999 |  | 2001 | 1 |  | GA | Office | 424635 | 1999 | 0 | 19 | A | downtown
205 | 2203 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 |  | 1984 |  | 1999 | 1 |  | GA | Office | 203418 | 1986 | 0 | 9 | A | suburban
73 | 2284 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1984 | 10 | 1998 | 1 |  | TX | Office | 302747 | 1984 | 8 | 19 | A | suburban
73 | 2285 | Miscellaneous | Exhaust fan |  | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1984 | 7 | 1997 | 1 |  | TX | Office | 302747 | 1984 | 8 | 19 | A | suburban
74 | 2286 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 |  | 1989 |  | 1998 | 1 |  | GA | Office | 378185 | 1989 | 0 | 14 | A | suburban
148 | 2287 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 1 |  | 1995 |  | 2000 | 1 |  | TX | Other | 75995 | 1995 | 0 | 1 | B | suburban
124 | 2288 | Miscellaneous | Fresh Air Units |  | 0 | 0 | 0 | 0 | 0 | 2 |  | 1986 |  | 2002 | 2 |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
140 | 2289 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 1987 |  | 1997 | 3 |  | NJ | Office | 40565 | 1987 | 0 | 2 | A | suburban
155 | 2290 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 6 |  | 1985 |  | 1997 |  |  | CA | Office | 730000 | 1979 | 0 | 38 | A | downtown
159 | 2291 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 |  | 1989 |  | 2004 | 2 |  | DC | Office | 585000 | 1989 | 0 | 12 | A | downtown
71 | 422 | Miscellaneous | Domestic hot water heater, electric |  | 0 | 0 | 0 | 0 | 0 | 2 |  | 1987 |  | 1996 |  |  | GA | Office | 278957 | 1987 | 0 | 13 | A | suburban
74 | 545 | Miscellaneous | Unit heater, electric |  | 0 | 0 | 0 | 0 | 0 | 5 | [6 empty] | GA | Office | 378185 | 1989 | 0 | 14 | A | suburban
92 | 611 | Miscellaneous | Computer room air conditioning unit, water-cooled DX compressor |  | 0 | 0 | 0 | 0 | 0 | 1 |  | 1986 |  | 2004 | 3 |  | IL | Office | 132622 | 1986 | 1 | 18 | A | downtown
94 | 802 | Miscellaneous | Other miscellaneous equipment | Elevator AC Units | 0 | 0 | 0 | 0 | 0 | 1 |  | 1980 | 4 | 2004 | 1 |  | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
94 | 804 | Miscellaneous | Other miscellaneous equipment | Pneumatic air compressor | 0 | 0 | 0 | 0 | 0 | 2 |  | 1980 |  | 1996 | 3 | Age | IL | Office | 756000 | 1981 | 0 | 40 | A | downtown
124 | 949 | Miscellaneous | Heat exchanger, plate and frame |  | 0 | 0 | 0 | 0 | 0 | 2 |  | 2002 |  | 2002 | 2 |  | TX | Office | 576733 | 1986 | 0 | 24 | A | suburban
114 | 1029 | Miscellaneous | Domestic hot water heater, natural gas |  | 0 | 0 | 0 | 0 | 0 | 3 |  | 1986 |  | 2001 | 1 |  | MD | Office | 126127 | 1986 | 0 | 2 | B | rural